THE INLAND WETLANDS COMMISSION OF THE TOWN OF AVON HELD A REGULAR MEETING ON TUESDAY, JULY 2, 2013 AT THE AVON TOWN HALL.

Present were Cliff Thier, Chairman, Michael Beauchamp, Martha Dean, Ken Birk and John E. McCahill, Planning & Community Development Specialist.

Dean Applefield, Bryan Short and Jed Usich were absent.

Chairman Thier called the meeting to order at 7:04 p.m.

Mr. Thier requested that the public confine their questions and concerns to issues related to wetlands.

PUBLIC HEARING:

APPL. #729 – PDP Financial LLC & MOJO Enterprises LLC, owners; Sunlight Construction Inc., applicant: Requests within the wetlands: 1) Clear, grub and construct gravity sanitary sewer; 2)  Place wood chip mulch for foot trail.  Requests within the 100’ upland review area: 3) Clear, grub and construct south water quality pond, storm drainage and wood chip trail, and discharge stormwater; 4)  Clear, grub and construct north water quality pond, storm drainage and wood chip trail, and discharge stormwater; 5)  Clear, grub and construct gravity sewer; 6)  Place wood chip mulch for foot trail; 7)  Clear, grub, place fill, and landscape (proposed parcels 6470018 & 6470026).  Location: 44 Lenox Road, existing parcel 3010044.

Present were Bill Ferrigno, Sunlight Construction, Inc., Bill Aston, Buck & Buck, LLC, Michael Klein, Environmental Planning Services, LLC, and Robert Meyers, Attorney.

Mr. Ferrigno stated that he would like to formally submit copies of the receipts for the Certificate of Mailings that were mailed to the owner(s ) of record of property which abut the subject parcel(s) and those property owners which are directly on the opposite side of the street of the subject property.

Mr. McCahill confirmed copies of the receipts are acceptable and confirmed that they have been placed in the record.

Mr. Ferrigno stated he is requesting acknowledgment from the Commission, and Town Staff, that they are in receipt of Michael Klein’s “Wetland Delineation and Functions and Values Assessment”, dated February 14, 213 and revised through June 19, 2013.

Mr. McCahill confirmed Mr. Klein’s report has been entered in the record.

Mr. Ferrigno also stated he is requesting acknowledgment that the memo from Tim Foster, Superintendent of Sanitary Sewers, dated June 24, 2013 is included in the record.

Mr. McCahill confirmed Mr. Foster’s memo has been included in the record.

Mr. Ferrigno stated that the subject property is a 44.55 acre parcel, in which seven (7) regulated activities are being proposed. He continued by stating that two (2) of the activities are in the wetlands.  Mr. Ferrigno stated that the activities are itemized on the application as proposed regulated activities #1-7 and are as follows:

- Clear, grub and construct gravity sanitary sewer within wetlands.

- Place wood chip mulch for meandering foot trail in wetlands.

- Clear, grub and construct south water quality pond, storm drainage and wood chip trail and discharge stormwater within wetlands setback.

- Clear, grub and construct north water quality pond, storm drainage and wood chip trail and discharge stormwater within wetlands setback.

- Clear, grub and construct gravity sewer and lateral within wetlands setback.

- Place wood chip mulch for meandering foot trail in wetlands setback.

- Clear, grub, place fill, and landscape within wetlands setback (proposed parcels 6470018 & 6470026).

Mr. Ferrigno, referring to a memorandum from Larry Baril, Town Engineer, dated June 24, 2013, stated that he agrees, and will be in compliance with, the Town Engineer’s comments/ recommendations.  Mr. Baril’s comments/recommendations are as follows:

- Ductile iron pipe is required from san.MH-3+23.00 to san.MH-5+51.36 where the sewer crosses through the wetlands (and no clean outs should be installed within the wetlands).

- All AWPCA requirements are to be met.

- Proposed grading showing access drive leading to water quality basins needs to be shown.

- Drainage areas shown on the map do not include overland flow to the basins.

- Water quality basins should be resized to accommodate the overland flow.

- No propose grading is shown so it is unclear how the drainage areas were calculated for the water quality basins.

- Areas outside of the subdivision included in the drainage areas do not have existing contours shown so it is impossible to know whether or not all areas have been included in the calculations.

- It appears some of the previously proposed street lines may have been left on the drainage area map and should be removed.

- The project narrative included a comment about peak discharge control.  The word “slightly” is used to describe the reduction in the peak flow in Big Brook and it is used again to describe the increase in the duration of the high flow volume in the brook.  The adjacent neighborhood is very sensitive to the flows in Big Brook, as there is considerable erosion along its banks throughout the neighborhood.  More detailed information is required to determine if additional drainage structures will be required to reduce the volume of water leaving the proposed subdivision.

Mr. Ferrigno stated that as a result of a discussion on July 2, 2013 with Matt Brown, Town of Avon Engineering Department, regarding items 4-7 and the need for clarification as to what the drainage head was for the area, revisions have been made to the calculations which he believes satisfied Town Staff.

Mr. Ferrigno stated that comment #8 was a drafting error and it has been corrected on the drainage area map.

With regard to comment #9, Mr. Ferrigno stated that he would be happy to consult with Town Staff to ensure the drainage is installed correctly.

Mr. Ferrigno, referring to the memorandum from John McCahill, dated June 24, 2013 stated he will address the comments in order as follows:

- Drainage calculations, and calculations for determining the size of the two (2) proposed water quality basins, have been submitted to the Town Engineer for review.

Mr. Ferrigno confirmed this has been completed.

- Consideration should be given regarding the need for long term maintenance of the two (2) proposed water quality basins (to include the possible need of maintenance access roads).

Mr. Ferrigno responded by stating that the decision to create access roads is at the Town’s discretion. If the Department of Public Works or Engineering Department decides access roads are necessary, Mr. Ferrigno stated that he would have no objection in complying with their request.

- The plans state that stumps will be chipped and used for erosion control.  They should not be buried on this site.

Mr. Ferrigno stated that he will be in compliance with this request. The stumps will be ground and used for erosion control.

- Test pits should be done in the location of the of the two (2) proposed water quality basins to ensure that they will function as designed.

Mr. Ferrigno stated that they will comply with this request with the oversight of Mr. Klein and Town Staff.

- A bond should be considered to ensure compliance with all proposed restoration and/or mitigation.

Mr. Ferrigno stated that he will work with Town Staff to determine the conditions of a bond, if requested by Town Staff.

- Groundwater may be encountered during construction of the sanitary sewer through the wetlands. A dewatering plan may be required.

Mr. Ferrigno stated that a dewatering plan will be provided.

- Consideration should be given to any need for temporary sedimentation basins.

Mr. Ferrigno addressed this comment by stating that he will again work with Town Staff and provide temporary sedimentation basins while under construction.

- During construction, the design engineer, or project engineer, should inspect the site for compliance with the soil erosion and sediment control plans and should submit progress reports to the Town.  As a minimum, inspections should be conducted at least once a week and within 24 hours of the end of a storm with a rainfall amount greater than one half inch (½”).  This should be noted on the plans.

Mr. Ferrigno stated that he will comply with this state law and this request.

- A combination of staked hay bales and siltation control fences should be installed at the edge of proposed construction associated with the two (2) proposed water quality basins adjacent to the wetlands. This should be shown on the plans.

Mr. Ferrigno stated that the proposed plan indicates that there will be a double row of siltation control fences installed and this is noted on the plans.

- Addition phasing should be considered to minimize overall potential impacts associated with excessive land disturbance.  Disturbed areas should be stabilized, by phase, prior to activity in future phases.

Mr. Ferrigno stated he will work with Town Staff to establish agreement regarding a phasing plan.

- The recommended establishment of a double row of native shrubs and understory trees along the limits of work on lots #6470018 and #6470026, to minimize the potential for future encroachment towards the wetlands (regulated activity 7) which are detailed in Michael Klein’s report, should be included on the plans.  Additional detailed planting plans should also be prepared after the grading plans have been analyzed (as noted in Mr. Klein’s report) for activities 1, 2, 3 and 4; and these should be included in the plans.

Mr. Ferrigno stated that in order to provide a minimal backyard for proposed lots #6470018 and #6470026 in the upland review area, Mr. Klein has recommended that a small amount of clearing, grubbing, grading, landscaping and foundation drains be completed within the upland review area.  Through the use of a low stone wall, no grading is required 	within eighty feet (80’) of the wetland boundary, and clearing will be approximately seventy feet (70’) from the wetland boundary.  The low stone wall will establish the limit of the work on proposed lot #6470018.  Mr. Klein recommended establishing a double row of native shrubs and understory trees along the limit of the work on both lots, in order to minimize the potential for future encroachment toward the wetlands.  This will be noted on the plans.

In response to Mr. Thier’s question, Mr. Ferrigno stated that a “minimum” backyard would measure approximately twenty feet (20’) beyond the proposed house and which is minimally acceptable to a potential buyer.

- The Soil Scientist should develop and submit a follow-up inspection and reporting protocol for proposed restoration and/or mitigation.  This should be included in the plans.

Mr. Ferrigno stated that Mr. Klein will be retained to comply with this request.

- The plans should indicate when the proposed trails will be constructed (this is not addressed in the construction sequence).

Mr. Ferrigno stated that this will be discussed in the phasing plan with Town Staff and will be subject to review by the Planning & Zoning Commission.

With regard to item #14, Mr. Ferrigno stated, it is his believe, that the following edits have been corrected:

- The cover sheet states “submitted: 2/15/13”, this appears to be a reference to the previous submittal.  This should be revised.

- Sheet OSD1, should show the proposed trails; and the legend should include symbols which represent the proposed trails.

- Sheet SP1 is dated 2/15/13; this sheet should reference a new date or it should note revision dates.

- SE1, note #12, states that “concurrent with road and utility construction, some individual home sites may be prepared”.  Additional guidance should be provided on the plans regarding the number of individual home sites that may be under construction (also refer to comment #10 about phasing).

- Sheet D-5, the Construction and Restoration Sequence narrative should be relocated (currently integrated into the detail for the Sanitary Sewer Construction Regulated Activity 1 drawing).

Mr. McCahill stated that clarification should be noted on the proposed plans as to how many homes are proposed to be under construction at any one time and as this relates to how much land is disturbed at any one time.

Mr. Ferrigno stated, in regard to construction phasing, road and utility construction will be addressed first, and followed by lot build outs, as necessary, depending on demand.  He continued by stating that all of the lots will not be cleared at one time.  Mr. Ferrigno stated that he concurs with arranging a suitable phasing plan that would protect the environment and comply with the standard maximum of 5-acres of disturbance rule.

- Ductile iron pipe should be considered from san.MH-3-23.00 to san.MH-5-51.36 where the sewer crosses through the wetlands (and no clean outs should be installed within the wetlands).

Mr. Ferrigno stated that, again, he has no objection to complying with this recommendation.

- Given the size and scope of this project, all members are encouraged to visit the site. It may be beneficial to walk the site following the July 2, 203 presentation, at which the Commission will be given an orientation to the site walk map and a presentation regarding the proposed regulated activities.

Regarding item number 16, Mr. Ferrigno stated that the proposed activities are clearly flagged on the subject site, which should assist the Commissioners on their site walks.

- As requested by the Commission, to allow for adequate review time, application revisions or additions should be submitted seven (7) days in advance of the meeting.

Mr. Ferrigno stated that item #17 is a general comment as requested by the Commission.

Mr. Ferrigno, referring to a letter from Tim Foster, Superintendent of Sanitary Sewers, Town of Avon, dated June 24, 2013, read the following conclusions:

“By flowing to the Lenox Road sewers, this would take wastewater that was

previously agreed to flow to Simsbury and send it to Farmington.  This would

require revision to the inter-municipal agreements for each of those communities.

This would likely prove disadvantageous to the Town of Avon.

It appears that the primary reason to consider flowing to the Lenox Road sewers is                           	  to avoid the wetland crossing as designed.  It is important to note that crossing

wetlands with sanitary sewers is very common, not only in Avon, but throughout

other communities.  In order to ensure that sewer breaches do not occur, special

materials are used to provide additional integrity of the system.

While I am not insensitive to the IWC’s charge to review and minimize impacts to               	 Inland Wetlands, it is my recommendation to the Town Engineer and the AWPCA, 	 that the gravity sewer is highly preferable.  Further the impact doesn’t warrant the

needs of an additional pump station, individual pump stations, or to consider

revisions to the inter-municipal agreements.”

Mr. Ferrigno stated that Mr. Bill Aston, Mr. Michael Klein and Attorney Robert Meyers were in attendance this evening to address any questions or comments.

Mr. Birk inquired if there were any options, other than ductile iron pipe, considered for the proposed sewer line that crosses the wetlands.

Mr. Aston responded by stating that ductile iron pipe, in his opinion, is the best choice due to the fact that it can withstand deflections without leakage and seals better plastic.

Mr. John Bowne, 21 Hammersmith, stated that he has been in the plastics industry for 43 years and, in his opinion, there are better options available to ductile iron pipe and that there are variations to plastic pipe for the proposed sewer line that will last “forever”.  He continued by stating that ductile iron pipe will rust and there are cost considerations.

Mr. Ferrigno stated that he will comply with the suitable product recommended by the Town Engineer for the proposed sewer line.

Ms. Dean stated that, based on the conclusions stated in Mr. Klein’s report (revised through June 19, 2013), that he has indicated that there is minimal impact to the wetlands.  She had no further questions at this time.

Mr. Ferrigno stated that, in the previous application (application #728), there was a significant smaller wetlands area near which a number of regulated activities were being proposed.  This area is referred to as Wetland #2.  He continued by stating that all of the regulated activities that were proposed in the previous application near Wetlands #2 have been eliminated in the current application.

Mr. Beauchamp did not have any questions at this time.

Mr. Klein, referring to item #11 in Mr. McCahill’s memo, dated June 24, 2013, stated  that he will comply with Mr. McCahill’s recommendations, with regard to the proposed planting and grading plans, and present them at the September 3, 2013 Inland Wetlands Commission meeting, if requested by the Commission. He continued by stating that, as a result of revisions from the previous application, the configuration of the two (2) water quality basins has “shifted slightly”, but the concepts have remained identical.  He continued by stating that if the Commission requires, the revisions with regard to the proposed plantings and grading plans, can be addressed as part of the approval process or identified as a condition of approval.

Mr. Klein stated that the applicant will comply with providing a detailed inspections and monitoring protocol at the September 3, 2013 or, as decided by the Commission, will identify it as a condition of approval.

Mr. Klein stated that he is suggesting a three (3) year compensatory monitoring period, with the first year being the first full growing year after construction is complete. He continued by stating that once the detailed planting plans are prepared for the rear of proposed lots #6470018 and #6470026, the amount of the bond to be considered, as suggested in item #5 in Mr. McCahill’s memo, can be determined.

Mr. Klein stated that a double row of  silt fence, or wood chips, are satisfactory substitutes for the hay bales that Mr. McCahill recommended be installed at the edge of the proposed construction associated with the two (2) water quality basins.

Mr. Klein stated that he recommends that the construction of the proposed meandering trail,

if required, commence during the dry season, with the precise location being determined, in the field,  to avoid any significant removal of trees.

Ms. Dean, referring to a case she was previously involved with in Enfield, stated that a homeowner had reinforced a bank above a small and very polluted river on her property, with wood chips.  She continued by stating that the homeowner, at that time, was sued by Department of Environmental Protection (DEP).  She wanted clarification as to what would be the concerns for the current Department of Energy and Environmental Protection with regard to the use of wood chips.

Mr. Klein stated that, in his opinion, he would not recommend using wood chips on a stream bank because a stream can be subject to higher velocity flows and wood chips are floatable.

With regard to this application, the area draining to the silt fence is relatively small.  With regard to the Enfield case, there could have been the possibility that the disposal of very large quantities of wood chips could have become anaerobic, creating low oxygen conditions and possible problems with odor and aesthetics. He is not aware of any potential problems with regard to the use of wood chips for this application.

Ms. Dean inquired if there is a requirement to remove the silt fence after a certain period of time.

Mr. McCahill responded by stating that he typically follows through with applicants and requests the removal of silt fences at the completion of a project.  He also continued by stating that there has been a lot more success when stump grindings are utilized instead of wood chips. Due to the form and composition of the ground up stumps, the anaerobic condition to which Mr. Klein has referred does not tend to become an issue for concern. Mr. McCahill is suggesting that stump grinding be used as a back fill to the silt fence rather than wood chips.

Mr. Beauchamp inquired whether the Department of Public Works will be monitoring the maintenance of the two (2) water quality basins.

Mr. McCahill stated that projects such as application #729, are designed to minimize the need for reoccurring maintenance.  He continued by stating that the goal is remove eighty percent (80 %) of the sediment, to be  in compliance with the Department of Energy and Environmental Protection (DEEP) guidelines.  There may be the potential for twenty percent (20%) of the sediment to reach the water quality basins.  The goal is to create as much of a maintenance free environment as possible.  The Department of Public Works maintenance plan is not easy to define. Mr. McCahill noted that the detention/retention basins that have been used in the past throughout Avon, retain sediment in the basins, therefore requiring the need for more maintenance with regard to the removal of sediment.  By design, water quality basins function much more efficiently with regards to sediment removal.

Mr. Klein stated that at the cul-de-sac of Staffordshire Ridge, there is an off line water quality treatment unit, which is designed by the manufacturer to meet the eighty percent (80%) requirement for sediment removal.  The amount of sediment that accumulates in the water quality basins should be very, very small. There is also a micro-pool located at the discharge to both water quality basins that creates an area that, if maintenance is required, the maintenance will be confined to that area.  A similar off line water quality treatment unit will be used for both of the proposed water quality basins.  Mr. Klein stated that, as required by the DEEP, the structure used for pretreatment has been sized appropriately.

Mr. Aston stated that the details of the proposed Bay Saver Units are shown on Sheet D-2 of the proposed plans, submitted July 1, 2013.

Mr. Klein stated that both the Bay Saver Units and the water quality basins are being proposed because it is the DEEP’s position on, what they refer to as “proprietary hydrodynamic separators”, that there is not a long term, such as twenty (20) or thirty (30) year history of these products, so the manufacturer’s removal claims cannot be considered iron clad.  Using both the Bay Saver Unit and the water quality basins will help to ensure to least amount of maintenance.

Mr. Bowne, 21 Hammersmith, inquired if all the correspondence from the previous application (application #728) has been included as part of the current application (application #729) record.

Mr. McCahill stated that the correspondence is included in the file for the previous application but it has not been entered in the record for the current application.

Mr. Bowne stated that, in his opinion, all the correspondence that was part of the previous application should be “carried over” to the current application.

Mr. McCahill stated that only the correspondence received after the withdrawal of application #728 has been included in the file.  He continued by stating that we can’t assume that all the previous correspondence is still relevant to the current application, considering that the proposed plans have been revised and modified.

Mr. Bowne, 21 Hammersmith, stating that in his opinion, all the correspondence is still relevant, and inquired as to what revisions have been made with regard to the proposed connections to Hollister Drive.

Mr. Ferrigno responded by stating that there is no land being considered to provide a connection to Hollister Drive.

Mr. Bowne, 21 Hammersmith, inquired if the proposed plans have changed the quantity of proposed dwellings to be constructed.

Mr. Ferrigno responded by stating that there are currently thirty nine (39) single family homes proposed in this application, reduced from fifty seven (57) in the previous application, in an R-30 cluster zone.

Mr. Bowne, 21 Hammersmith, stated that because of the amount of houses, driveways, roads, etc. that will be constructed, the amount of “normal” drainage will be removed.  He stated that all the “normal” drainage will end up in the water quality basins.  He has concerns that the water quality basins will overflow into Big Brook, which is in bad condition now.

Mr. Bowne continued by stating that he would like to point out the irresponsibility of the “Wetland/Zoning Boards” in previous years.  He stated that he did not believe that the current Inland Wetlands Commission was in existence in 1970’s, but wanted to draw attention to the condition of the pond at the west end of Hollister Drive.  Mr. Bowne stated that he attributes the deterioration of that pond, and Big Brook, to irresponsible building and zoning. He stated that he does not believe that any permit should be allowed for anything than what was originally zoned.  Mr. Bowne is requesting that this Commission “protect and preserve”.

Mr.McCahill stated that he is requesting direction from the Commission with regard to the “carry over” of correspondence from the previous application.  Mr. McCahill stated that he would consider it necessary to seek legal counsel from the Town Attorney if the Commission wants to consider including previous correspondence in the current application file.

Mr. Thier stated that if the previous correspondence is not on point, it should not be included in the file for the current application.  He requested that Mr. McCahill consult with the Town Attorney on this issue.

Mr. Jim Love, 11 Hammersmith, inquired, in consideration of the revised proposed plan, what would be the location of the two (2) water quality basins in regard to the stream that flows through the wetlands (Big Brook).  Will the water quality basins be on his side of the stream (east of Big Brook) or on the other side of the stream (west of Big Brook)?  His concern is the he will have water in his backyard as a result of the proposed plan.

Mr. Ferrigno responded by stating that both water quality basins will be located on the west side of the Big Brook.

Mr. Horan, 166 Haynes Road, stated that he had a question regarding the two (2) proposed lots for which fill has been proposed to create twenty foot (20’) backyards. How much fill will be necessary?

Mr. Ferrigno responded by stating that, in accordance with Mr. Klein’s recommendation, that a boulder wall, along with some native shrubs, will be placed at the end of the area to be filled (approximately twenty feet) . Mr. Ferrigno clarified that neither the boulder wall or native shrubs will be located in the wetlands.  The boulder wall and native shrubs will be located approximately sixty (60) to seventy (70) feet from the wetlands.

Mr. Rodney Goodwin, 56 Copplestone, inquired if the Commissioners have visited the wetlands after the recent rain?  There have been “gushes’ that have come through the wetlands and, and to his knowledge, will not get any better. His question is how will the water quality basins be affected by the “gushes” and what will be the effect of this on the mosquito population?

Mr. Aston, stated that the two (2) water quality basins are located in the one hundred foot (100’) upland review area (URA) and they are not located in the wetlands.  He continued by stating that the overflow from the water quality basins are approximately six (6) to eight (8) feet above the level of Big Brook.  Big Brook will not be inundated by flooding.  Mr. Aston stated that the water quality basins will have standing water because they are designed to drain slowly towards the wetlands.  He continued by stating that they will likely breed mosquitos, as any natural pool of water would do.

Mr. Klein stated that the water quality basin located in the southern portion of the subject parcel, is eighty feet (80’) from the wetlands, and the water quality basin located in the northern portion of the subject parcel is forty feet (40’) from the wetlands.  He continued by stating that there is a State Statute requiring that stormwater be treated.  An alternative design, known as wet retention ponds, is available for treating stormwater but, they have a permanent pool of water, and mosquitos, like any other pools or ponds.  The water quality basins are not designed to retain permanent pools of water or worsen the issue of mosquitos.

Mr. Bowne, 21 Hammersmith, stated can you absolutely guarantee that the water quality basins will not “breach”.

Mr. Klein responded by stating that he could not “absolutely” guarantee that the water quality basins will not breach.

Mr. Bowne also expressed his concerns regarding liability in the case of an accident due to the impacts to Big Brook.

Mr. Thier stated this Commission is not responsible for determining the responsibility of liability.

Mr. Aston stated that the water quality basins outlet areas are reinforced with rip rap to prevent erosion, and they are also designed to safely overflow when full.

Mr. Mike Kohlhoff, 213 Haynes Road, stated that the rear yard setback for an R-30 zone is thirty feet (30’). Will the applicant be seeking a variance for the proposed lots which will require fill to create back yards?

Mr. Ferrigno responded by stating that the proposal is to build back yards twenty feet (20’) behind the houses, with the rear yard setback being much beyond that point.  There is no need for a zoning variance for this proposal.

Mr. Kohlhoff, 213 Haynes Road, inquired what was the purpose of the Bay Saver Units?

Mr. Aston responded by stating that the purpose of the Bay Saver Units is to allow any sediment from the road to settle in the Bay Saver Units.  The Department of Public Works would consequently remove the sediment from the Bay Saver Units, before it reaches the water quality basins.  The Department of Public Works would have easy access for maintenance within the right-of-way.

Ms. Chris Wilde, 110 Haynes Road, stated that her concern is that the abutting properties to Big Brook may be subject to wet basements or additional water in their backyards due to the amount of paving and construction that is proposed.

Mr. Aston responded by stating that the water quality basins are sized based on the amount of impervious area that is proposed for the subject property, based on a formula required by the DEEP.  He continued by stating that the size of the water quality basins will equalize both existing and proposed conditions and will not affect peak flows that will be generated by the storm drainage that will be installed.  Mr. Aston stated that he has prepared and submitted hydraulic calculations that indicate the peak flow will be below what is it is currently for all storms between five (5) to one hundred (100) years. The flooding problems for Big Brook will not change.

Ms. Wilde, 110 Haynes Road, questioned the reliability of the proposals with regard to safeguarding the abutting properties from having issues with water overflow in the future.

Mr. Thier stated that the responsibility of this Commission is to protect the wetlands from any substantial negative impact and to consider whether any proposed mitigation is adequate to overcome any negative impact.

Mr. Ferrigno stated that there is a well-respected body of science that is considered in the preparation of proposed plans.  He continued by stating that the Town Engineer is very prudent, and conservative, and will require changes if necessary.

Ms. Wilde, 110 Haynes Road, stated that if the proposed plan will potentially create problems “downstream”, why is this Commission not concerned?

Mr. Thier responded by stating that the Commission most certainly is concerned with this issue.  He continued by stating that, at this time, there has been no presentation that there will be any negative impact.  Mr. Thier stated that there has only been speculation presented that there might be a negative impact to the wetlands.

Ms. Wilde, 110 Haynes Road, stated that she hopes that the science is “great” and that nothing negative happens.

Mr. Thier reiterated that what we have on the record is what the applicant has presented to the Commission.  He continued by stating that the speculation may be prudent, but the Commission cannot weigh that information in the approval process.

Mr. Kohlhoff, 213 Haynes Road, inquired that if the water quality basins have the potential to create additional wetlands, will the areas surrounding the water quality basins comply with the wetland regulations.

Mr. Klein responded by stating that he was not quite sure of the question, but continued by stating that there is a reasonable probability that a substantial portion of the bottoms of the water quality basins will exhibit wetland hydrology and support wetland plants.

Mr. Kohlhoff, 213 Haynes Road, rephrased his question by stating that if the water quality basins become wetlands, have all the precautions been put in place so that the areas around the water quality basins are protected as wetlands.

Mr. Klein responded by stating that the DEEP has stated that if the water quality basins eventually exhibit the characteristics that define a wetland (by soil type in Connecticut), then the Commission has the authority to regulate them.  The Commission cannot regulate them “prospectively” based on what might happen in the future.  Mr. Klein stated that any proposed activities are well removed from the water quality basins.  He stated that to the best of his knowledge, regular maintenance of drainage structures is an activity that is permitted as of right in wetlands, watercourses and upland review areas.

Mr. Kohlhoff, 213 Haynes Road, expressed his concern, with regard to the recent rains and construction in the Haynes Road area, by stating that he has realized the fragility of the drainage in the Haynes Road area.  He is concerned that the proposed drainage will negatively affect the wetlands, as well as the wildlife and habitat, and the surrounding areas,  understanding that precautions have been taken to avoid any negative impact.

Mr. John Jennings, 69 Haynes Road, inquired if at the Planning & Zoning Commission meeting, in reference to this project, a resident of Haynes Road was to suggest a road connector to an area other than Lenox Road, how might this Commission react to this suggestion if it involved crossing a wetlands?

Mr. Thier responded by stating that if the Planning & Zoning Commission mandates a change and the change impacts the wetlands, the applicant will have to come back before the Inland Wetlands Commission, if it has not be considered as part of this application.

Mr. Thier stated that the Commission can only evaluate the application in its present form. Mr. Thier, in response to Mr. Jennings question, stated that if there is a change in the application, and the change impacts the wetlands, the Commission would be required to evaluate the impact of the change.

Mr. Jennings, 69 Haynes Road, inquired if applications are submitted to the Inland Wetlands Commission within the Town of Avon, which may involve the crossing of wetlands, would the application necessarily be dismissed. Can roads cross wetlands?

Mr. Thier responded by stating that roads may cross wetlands, but it would require coming before the Inland Wetlands Commission for review.

Mr. McCahill stated that Town Staff  has received correspondence with regard to this application and the correspondence has been forwarded to the attention of the Inland Wetlands Commission. The correspondence is as follows: an email to the Inland Wetlands Commission received was from Lori Matthews and John Jennings, dated June 30, 2013; a copy of an email correspondence to Matt Brown, Engineering Department from Lori Matthews and John Jennings, dated June 26, 2013; Common Sense Solutions for Access To Haynes Rd received from John Jennings, dated March-April 2013 and revised June 2013; and a letter from John and Anne Bowne, dated June 27, 2013.

Mr. Ferrigno stated that in the preparation of the documents for this application, the wetlands and the upland review area (URA) are restricted, generally, to the eastern half of the subject property.  Town Staff has requested that the applicant present the entire proposed layout for the application, to be presumably presented to the Planning & Zoning Commission, to the Inland Wetlands Commission this evening. If there are slight changes to the layout, such as changes to a lot line, as a result of any actions from the Planning & Zoning Commission, Mr. Ferrigno stated that there will be no changes to the substance and the engineering behind the proposed activities being presented at this hearing. There will no increase in water flow and there will be no changes in the design of the hydrology

Ms. Susan Durant, 1 Muirfield Lane, Farmington Woods, inquired whether there any requirements for the removal of trees?

Mr. Thier responded by stating that the applicant has not stated any conditions for tree removal or retainment as part of this application with regard to the wetlands.

Mr. Ferrigno added that, if the development is approved in the state that it is in currently,

alot of open space and trees will be retained, but any final proposal will depend upon the actions of the Planning & Zoning Commission.

Mr. McCahill stated that he recommends that the public hearing be continued to the September 3, 2013 Inland Wetlands Commission meeting.  He continued by stating that the Commission has heard a request to “carry over” the correspondence from application #728 to application #729 and that there are some other unanswered questions that need to be followed up with Town Staff and the Town Attorney.  Mr. McCahill stated that there is a statutory requirement to open and complete a public hearing within a thirty five (35) day time frame.  The purpose of this statute, is to ensure that the applicant is given a timely public hearing.  Mr. Ferrigno has indicated that he is willing to verbally state that, to the extent that it is permitted by law, he has no objection to the continuance of the date for closing the public hearing through and including September 3, 2013. He continued by stating that he will follow up this statement in a letter from his attorney.

Mr. Beauchamp made the motion to continue the public hearing. Ms. Dean seconded the motion.  Mr. Beauchamp, Ms. Dean, Mr. Birk and Mr. Thier voted unanimously to continue to the public hearing to September 3, 2013.

The public hearing was closed at 8:25.

NEW APPLICATIONS:

APPL. # 730 – Anthony Prushko & Andrea Living Trust, owners; Anthony Prushko,             applicant:  Request within the 100’ upland review area:  1) Construction of a single family             home (replacing house previously destroyed by fire), deck and driveway with related grading; 2) Construction of in-ground pool (12’ x 24’), pool equipment, pool deck and fencing; 3) Install rip-rap apron; 4) Selective tree clearing; and establish new lawn area.  Location: 457 New Road, Parcel 3280457.

Present were Mr. & Mrs. Prushko, Clinton L. Webb, Jr, Environmental Planner/Wetland Ecologist, C. Webb & Associates, LLC, Don Cardwell, Cardwell Homes, LLC.

For the record, Mr. Webb submitted his resume.

Mr. Webb stated that he is representing the applicant, Mr. Anthony Prushko, who is proposing construction of a new house on an existing lot, in a similar footprint to the previous house that burned down, in 2005.  In response to comments from Town Staff, Mr. Webb has submitted plans that have been revised, through July 1, 2013.  He continued by stating that they have revised the proposed plan to address some of the concerns by Town Staff, but will continue to work with Town Staff on those concerns left unaddressed.

Mr. Webb stated that the overlay map submitted this evening compares the previous development of this site to the proposed development of this site, as requested in item #2 in Mr. McCahill’s memo, dated June 24, 2013.  He continued by stating that the original house was constructed and permitted in 1988.  Mr. Webb continued by stating that the footprint of the original house was one thousand seven hundred seventy (1770) square feet.  The proposed house will be one thousand seven hundred fifty (1750) square feet.  The proposed bituminous driveway will add an additional five hundred (500) square feet to the existing driveway.

Mr. Webb, again referring to the overlay map, distinguished the existing tree line as shown in red and the proposed tree line as shown in yellow.  He continued by stating that approximately nineteen hundred (1900) square feet will be converted to grass within the borders of this area. On the overlay map, Mr. Webb also identified the trees he is proposing to remove and those trees that he is proposing to top off. There are two (2) trees located at the edge of the wetlands.

In response to Ms. Dean’s question, the trees to removed or topped off have been clearly marked.

Mr. Webb stated that the entire proposed project is within the one hundred (100) foot upland review area (URA).  The proposed house will utilize the existing well, septic tank and existing leaching fields.

The following are comments noted in John McCahill’s memo, dated June 24, 2013.  Mr. Webb’s response follows:

5.  The proposed “clearing limits” should be flagged in the field, and inspected by  Town Staff, prior to clearing. A selective removal or “topping off” of existing trees should be reviewed and approved by Town Staff prior to such activity.  This should be noted on the Plans.

In response to comment #5, Mr. Webb stated that the “clearing limits” have been flagged in the field and noted on the plans.

6.  The proposed footing drains/foundation drains should be clearly shown on the plans with adequate protection to the outlets to prevent any future erosion.

Mr. Webb stated that the footing drains/foundation drains have been added to the plans.

- The Metropolitan District Commission (MDC) should be contacted for approval

Of any work in close proximity to the existing 36” water main along New Road.

Mr. Webb stated that he is in the process of contacting the MDC.

Mr. Webb stated he will now address item #3 in Mr. McCahill’s memo.

3.  The soil scientist has delineated the extent of the “intermittent watercourse” in the field, as noted on the plans, and the remaining areas of potential flow are labeled as “rill erosion”. Additional detail should be provided with regard to the criteria used for making this

determination.  Additional information should also be provided, on the plans, with regard

to the stabilization of the erosion associated with the areas labeled as “rill erosion”. (The

soil scientist’s report states that “the rill area will be restored/stabilized so that no further

erosion will occur”).

Mr. Webb stated that there is a ditch that emanates from a catch basin discharge pipe located the northeast corner of the property that is not protected with any rip rap or splash pads. He submitted pictures comparing the ditch in May, 2010 and May, 2013 illustrating the erosion that has taken place.  Mr. Webb stated he has a letter from the previous owner stating that the ditch did not exist in 2005.  He continued by stating that, in his opinion, it is not a regulated watercourse as it does not have any wetland soils, wetland vegetation, or any biotic activity.  The only criteria that it meets to be delineated as a watercourse, is that it continues to flow for three (3), four (4) or more days after a rain storm.   Mr. Webb stated that this means the source of the water is from somewhere other than the street.  The ditch is carrying massive amounts of sediment down slope, across Sepous Road, and into the Farmington River. The water flow is very unstable.

Mr. Webb, referred to a map he has designated as “Plot Plan”, dated April 22, 1988”, that shows  there was a twelve (12) inch cross drainage pipe under New Road, which was at the time a crowned road surface with no curbs. There was no development on the hill east of New Road at that time.

The discharge from the pipe was minor and did not cause much erosion to the existing lawn of the subject property. Mr. Webb again stated he has submitted a letter, for the record, from the previous owner, Mrs. Lee Wyrick, dated June 26, 2013, remarking on the changes of the flow of water on the property.

Mr. Webb, referred to the current site plan (undated), that shows all the development along New Road, which he believes may be the cause of a lot of the drainage issues. He continued by stating that the drainage on New Road went from a twelve (12) inch pipe, to five (5) catch basins.  Mr. Webb continued by stating that as a result of the housing development between 452 and 454 New Road, the hillside behind the houses was cut into to create backyards for the homes. Mr. Webb stated that water can be seen seeping out from the face of the cut rock. He subsequently checked out all the catch basins along New Road and Arlington Drive, the location of the construction of new homes, to determine where the water may be flowing.  He noted that the catch basins, located at 452, 454, 470 & 472 New Road, are ten (10) inch pipes that flow  under New Road,  indicating that there was a lot of ground water exposed when the hillside was cut into and the houses were constructed.

Mr. Webb stated that there is a dip in the road in the vicinity of 470-472 New Road that drains across New Road and drains to the catch basin at 457 New Road.  Mr. Webb stated that there are numerous residents on the west side of New Road that had issues with water.  The catch basins were installed to help alleviate these issues. His applicant’s property has been highly impacted with this stormwater feature.

Mr. Webb stated that he would like a consensus from the Commissioners that they agree with him, in principal, that this is not a watercourse. He would also want to note that the applicant is willing to correct the drainage issues at his own cost.  He continued by stating that if the Commission is in agreement with his determination, then he will work with Town Staff to revise the plan in order to ensure the water is controlled and the erosion is stopped from flowing eventually into the Farmington River. Mr. Webb stated that if it is the consensus of the Commission that this is a watercourse, he will revise the proposed plans to request permission to stabilize the wetlands with fill, rip rap and grass swales as a regulated activity.  Mr. Webb continued by stating that he will also need to contact the Department of Energy and Environmental Protection (DEEP) and the Army Corps of Engineers, who will require determination of the root cause of the storm water feature.

Ms. Dean stated that she would like to do some research on the definition of a watercourse.

Mr. Webb reiterated that there was no appearance of a watercourse in 2005.

Ms. Dean stated that she would like to research whether watercourses are defined so that they exclude new watercourses or watercourses that are man-made and “suddenly” are required to be regulated.

Mr. Beauchamp stated that he is not clear whether this stormwater feature is a watercourse.

Mr. McCahill stated that Mr. Webb determined by walking the subject property that he could make the distinct determination as to where the watercourse existed and where the “rill erosion” began.

Mr. McCahill suggested that Mr. Webb present to the Commission the logic that was used to clarify this point of transition.

Mr. Webb stated that the stormwater feature flows down slope from the hill, flows under New Road, has the same flow path as it was delineated in 1988, and has no wetland soil indicators. He continued by stating that in 2010, there were three (3) or four (4) paths of sheet flow that created paths that were newly eroded upland soils.  There was no indication of a watercourse. The sheet flow was occasional, low energy, and exhibited a wide path.  He indicated that the point at which the slope sharpened, the channel of water stabilized and, at this point, it exhibits the distinct characteristics of a wetlands/watercourse system.

Mr. Webb stated that all wetlands and the rill erosion are flagged.

Mr. Webb confirmed Ms. Dean’s question by stating that, at some point in the past, that water flowed without having a distinct channel and then got to the point where it is now flows from the blue (wetlands) to green (eroded channel) flags.

In response to Ms. Dean’s question, Mr. Webb stated that the houses on New Road were constructed in 2003, 2004, 2005 and later.

Ms. Dean stated that, based on Mr. Webb’s research, it appears that Mr. Webb has determined that the 2000 year home construction has caused increased water flow under the New Road which has created a new stream flow across the property, which in the absence of any homeowner, should not be there.

Mr. Webb responded by stating that there were no concentrated water flows prior to the new residential construction along New Road.

Ms. Dean questioned if Mr. Webb is proposing rip rap to solve the “water issue”.

Mr. Webb responded by stating that he will review stormwater calculations to address the most appropriate way to correct the issue of the stormwater flow.

Mr. Webb suggested that there is also a ten (10) inch pipe that collects water that flows down slope, from Arlington Road, and flows to the catch basin at 457 New Road.

Ms. Dean inquired if it is the Town’s responsibility to re-pipe the stormwater to different locations.

Mr. McCahill stated that, first, the cause of the erosion process should be determined.  He continued by stating that once the erosion process occurred, and it was not brought to the attention of anyone, the erosion continued to grow.  Mr. McCahill stated that if someone was residing on the property, it would have been maintained by the homeowner or brought to the Town’s attention.

Ms. Dean inquired if there is process in place, when a new stream appears after development,

to resolve issues as drainage issues with piping, and not a new stream that needs to be regulated.

Mr. McCahill responded by stating that the drainage issues pertinent to 457 New Road can likely be resolved with the use of a combination of rip rap and grass swales and it may not require piping.

Mr. McCahill clarified that he was not challenging Mr. Webb’s delineation, but suggested that Mr. Webb be prepared to explain why he concluded that, at some point, he had determined where it was a “watercourse” and where he concluded there was “rill erosion”. Mr. McCahill stated that the definition of a watercourse states “intermittent watercourse shall be delineated by a defined permanent channel and bank in the occurrence of two (2) or more of the following characteristics”.  He continued by stating that, without getting into the specifics of the characteristics,  the meandering rill does not have a defined channel or bank and it should be made clear in the record that it is not likely a watercourse. Mr. McCahill stated that assuming, the channel had a fixed bank, two (2) of the following criteria would have to be met:

- Evidence of scour or deposits of recent alluvium detritus.

- The presence of standing or flowing water for a duration longer than a particular storm incident.

- The presence of hydrophitic vegetation.

Mr. McCahill stated that there is evidence of scour.  He continued by stating that, in this case, it is difficult to determine the criteria for item #2, as a result of the amount of recent rainfall.  And lastly, Mr. Webb stated that there is no evidence of hydrophitic vegetation because the erosion is so deep it has hit the hardpan, with nothing for the vegetation to grow in. Mr. McCahill stated that it is an eroded undefined channel that will continue to move, and it does not meet the criteria as a defined watercourse.

Mr. Thier stated that if there is no affirmative answer to the threshold question, the other criteria does not have to be considered.

Mr. McCahill stated that he is comfortable with the Mr. Webb’s delineations.

Mr. Thier stated it is the consensus of the Commission presiding this evening that it is in agreement with the question of the threshold.  Mr. Thier continued by stating that it should be understood that this is the consensus of the Commissioners this evening and it may be different at the next Inland Wetlands Commission meeting, depending on which Commissioners are presiding.

Mr. Webb stated that he is satisfied with the consensus at this time, and will present a revised plan at the September 3, 2013 Inland Wetlands Commission meeting.

APPL. #731 – Gail Perkins-Gemme, owner; Robert Gemme, applicant:  Requests within

the 100’ upland review area: 1) Construction of a single family home and driveway with related

grading. Location 28 Foothills Drive, Parcel 2290028.

Present were Doug Ellis, Buck & Buck, LLC, Robert Gemme, applicant.

Mr. Elllis stated that the applicant is proposing constructing a single family home and driveway with related grading in the one hundred (100) foot upland review area (URA).  This lot was created with the Foothills subdivision in the late 1990’s when the URA for wetlands was forty (40) feet and eighty (80) feet for watercourses. Mr. Buck continued by stating that the proposed house cannot be situated such that any activities are outside of the

URA.

Mr. Ellis stated that the revised plans have addressed the concerns of Town Staff, with the primary two (2) concerns being to remove any grading from the conservation easement and to consider a mitigation planting plan. The proposed grading has been eliminated from the conservation easement and the proposed planting plan, as suggested by Michael Klein, Environmental Planning Services, LLC in his report dated July 1, 2013 is included on the  proposed plans, revised July 3, 2013.

Mr. Beauchamp inquired if this is the only location for the proposed house.

Mr. Ellis responded by stating that it is the only feasible location as a result of the 2-1 slope grading in the rear of the home.  He continued by stating that the proposed footprint is the exact same footprint used on the original subdivision map.  Mr. Ellis stated that he made every effort to locate the house as far north as possible to minimize the potential for any impact to the wetlands.

Ms. Dean had no questions at this time.

Mr. McCahill stated that the benefit of now having the one hundred (100) foot URA is that Town could now require a mitigation planting plan. The planting plan suggested by Mr. Klein, sends a message to the future homeowner that there is a wetland in the vicinity that needs to be protected.  He continued by stating that he has reviewed the plans and that Mr. Ellis has responded to the comments in Mr. McCahill’s memo, dated June 24, 2013 and revised the proposed plans to include all that was suggested.  Mr. McCahill stated that Mr. Ellis has also responded to the comments in Mr. Baril’s, Town Engineer, memo dated June 21, 2013 and included changes in the revised plans. Mr. McCahill stated that Mr. Baril included recommendations that were above and beyond the need for the Inland Wetlands Commission, so at the time of the submitting a building permit, the plans would not again have to be revised.  Mr. McCahill stated that the mitigation planting plan should be required as a condition of approval.

Mr. Beauchamp made the motion to approve application #731 with the standard conditions and the additional condition as read by Mr. McCahill which states “all required mitigation/plantings shall be installed as soon as practical; and all mitigation/plantings shall be installed prior to the issuance of a Certificate of Occupancy for the proposed house”.

Ms. Dean seconded the motion.  The application was approved unanimously by Mr. Birk,

Ms. Dean, Mr. Beauchamp, and Mr. Thier.

OUTSTANDING APPLICATIONS:

There were no outstanding applications at this time.

COMMUNICATIONS FROM THE PUBLIC:

There were no communications from the public at this time.

OTHER BUSINESS:

APPL. #694 – Sunrise Senior Living, Inc., applicant; Matthew Herz, Manager for Avon Village, LLC, owner. Requests within 100’ regulated area: 1) grading for and installation of subsurface stormwater management facility and drainage system and 2) grading for and installation of parking lot, sidewalk, retaining wall and storm drainage: Location: 117 and 121 Simsbury Road; Parcels 3970117 and 3970121 – Transfer of existing IWC permit to LCB Senior Living, LLC; and request to extend the duration of the permit for a period of three years – Letter dated June 7, 2013.

Present were Robert Aiello, John Meyer Consulting, PC and Patrick Mallon, Buildable Sites, LLC.

Mr. McCahill gave a brief summary of this application by stating that there is a request that the Commission approve the transfer of the following permit from the original applicant, Sunrise Senior Living, Inc. to the new applicant, LCB Senior Living, LLC.  Mr. McCahill continued  by stating that as the new site layout was prepared for LCB Senior Living, LLC, it is important to note that none of the regulated activities changed but the sheet numbers and record plans (including approval conditions), that were part of the previous applications, changed only in that they were re-labeled and re-numbered.  He had requested that John Meyer Consulting, PC create a cross reference for the changes from the previous plans to the current plans and submit them to the Commission.

Mr. McCahill stated that Mr. Mallon has been involved with the transfer process, has read the approval conditions and has indicated in a letter from Edward SanClemente, Director – Real Estate & Property Management, LCB Senior Living, dated June 7, 2013, that “the proposed permittee certifies that it understands and will comply with the conditions of the Inland Wetland Permit being transferred in its name”.  Mr. McCahill added that the permittee is also requesting to extend the duration of the permit for a period of three (3) years.

Mr. McCahill stated that he distributed an 11” x 17” map which illustrates the regulated activities which had been previously approved. The regulated activities addressed conditions for a retaining wall, parking and a storm water quality treatment facility.

Mr. Thier stated that it is the consensus of the Commission that the transfer of the permit will be considered an administrative process.

Mr. McCahill restated the condition of transfer as follows: “The proposed permittee certifies that it understands and will comply with the conditions of the Inland Wetland Permit being transferred in its name, as stated on the Letter of Request dated June 7, 2013”.

Ms. Dean made the motion to approve the transfer of permit pursuant to application #694, with an extension of three (3) years, subject to the approval condition as stated by Mr. McCahill.

Mr. Birk seconded the motion.

Mr. Birk, Ms. Dean, Mr. Their and Mr. Beauchamp unanimously approved the transfer and extension.

STAFF COMMENTS:

Mr. McCahill stated that the clean-up work that Ensign Bickford had proposed in the vicinity of Ensign Drive and Fisher Drive, which was presented at the June 4, 2013 Inland Wetlands Commission meeting, has been completed.  Mr. McCahill stated that he had several meetings with Ensign and Bickford, and the project manager, Michael Feldman, Principal Senior Engineer for Coneco, to ensure that there was no damage or destruction to wetlands.  He stated that the project went well and Ensign Bickford was pleased that the project was able to move forward.

Authorized Agent Approvals:

There were no authorized agent approvals at this time.

APPROVAL OF MINUTES:  April 2, 2013

Chairman Thier asked if there were any corrections to the minutes.  There being no corrections to the minutes, Mr. Beauchamp made the motion to approve the minutes. The motion was seconded by Mr. Thier. The minutes were approved unanimously by Mr. Beauchamp, Mr. Birk, Mr. Thier and Ms. Dean.

NEXT MEETING:   September 3, 2013

There being no further business, the meeting was adjourned at 9:20 p.m..

Respectfully submitted,

Judy Schwartz