THE INLAND WETLANDS COMMISSION OF THE TOWN OF AVON HELD A REGULAR MEETING ON TUESDAY, SEPTEMBER 3, 2013 AT THE AVON TOWN HALL.

Present were Cliff Thier, Chairman, Michael Beauchamp, Martha Dean, Ken Birk, Bryan Short, Jed Usich, Dean Applefield and John E. McCahill, Planning & Community Development Specialist.

Chairman Thier called the meeting to order at 7:00 p.m.

PUBLIC HEARING:

APPL. #729 – PDP Financial LLC & MOJO Enterprises LLC, owners; Sunlight Construction Inc., applicant: Requests within the wetlands: 1) Clear, grub and construct gravity sanitary sewer; 2)  Place wood chip mulch for foot trail.  Requests within the 100’ upland review area: 3) Clear, grub and construct south water quality pond, storm drainage and wood chip trail, and discharge stormwater; 4)  Clear, grub and construct north water quality pond, storm drainage and wood chip trail, and discharge stormwater; 5)  Clear, grub and construct gravity sewer; 6)  Place wood chip mulch for foot trail; 7)  Clear, grub, place fill, and landscape (proposed parcels 6470018 & 6470026).  Location: 44 Lenox Road, existing parcel 3010044.

Present were Bill Ferrigno, Sunlight Construction, Inc., Bill Aston, Buck & Buck, LLC, Michael Klein, Environmental Planning Services, LLC, and Robert Meyers, Attorney.

Mr. Ferrigno stated that the presentation this evening is a continuation of the public hearing that commenced on July 2, 2013.  Since that meeting, he stated that he and his team of experts have been working closely with Town Staff to address the concerns that were raised by the Commission during the testimony at the July 2nd Inland Wetlands Commission meeting, as well as, the concerns raised by Town Staff, and they have made the appropriate revisions to the proposed plans.

Mr. Ferrigno stated that the application includes seven (7) proposed regulated activities on an approximately forty five (45) acre parcel located between Lenox Road and Haynes Road.  Two (2) of the proposed regulated activities are located within the wetlands and five (5) of the proposed regulated activities are located in the one hundred foot (100’) upland review area.

Mr. Ferrigno stated that he has submitted a memo to the Inland Wetlands Commission (dated September 3, 2013) that summarizes his responses to the comments made in a memo from Mr. McCahill dated June 24, 2013 to the Inland Wetlands Commission. He stated it also includes his responses to a memo from Larry Baril, Town Engineer dated August 28, 2013. Mr. Ferrigno’s responses are as follows:

- Drainage calculations, and calculations for determining the size of the two (2) proposed water quality basins, have been submitted to the Town Engineer for review.

Response:  Drainage calculations have been updated and submitted to Town Engineer. Town

Engineer has responded under separate cover.  He continued by stating that the

integrated drainage system concerns have been addressed and approved by the

Town Engineer.

- Consideration should be given regarding the need for long term maintenance of the two (2) proposed water quality basins (to include the possible need of maintenance access roads).

Response:  Long term maintenance has been addressed using access roads.

- The plans state that stumps will be chipped and used for erosion control. They should not be buried on this site.

Response:  Stump grindings will stay on the site and used for erosion control.

- Test pits should be done in the location of the two (2) proposed water quality basins to ensure that they will function as designed.

Response:  The test pits have been done at the locations requested and the findings have been

recorded on the plans.

- A bond should be considered to ensure compliance with all proposed restoration and/or mitigation.

Response:  A bond amount has been determined from estimates of installing the plants from

Mr. Klein.  We are in agreement with the bond amount ($10,000).

- Groundwater may be encountered during construction of the sanitary sewer through the wetlands. A dewatering plan may be required.

Response:  A dewatering plan has been added to the plans and will be used if needed.

- Consideration should be given to any need for temporary sedimentation basins.

Response:  Temporary sedimentation basins are now part of the plans.

- During construction, the design engineer, or project engineer, should inspect the site for compliance with the soil erosion and sediment control plans and should submit progress reports to the Town.  As a minimum, inspections should be conducted at least once a week and within 24 hours of the end of a storm with a rainfall amount greater than one half inch (½”).  This should be noted on the plans.

Response:  The inspection protocol for compliance with SEC has been added to the plans.

- A combination of staked hay bales and siltation control fences should be installed at the edge of proposed construction associated with the two (2) proposed water quality basins adjacent to the wetlands.  This should be noted on the plans.

Response:  The additional measures to mitigate erosion have been added to the plans.

- Addition phasing should be considered to minimize overall potential impacts associated with excessive land disturbance.  Disturbed areas should be stabilized, by phase, prior to activity in future phases.

Response:  Phasing plan has been discussed with staff and added to the plans.

- The recommended establishment of a double row of native shrubs and understory trees along the limits of work on lots #6470018 and #6470026, to minimize the potential for future encroachment towards the wetlands (regulated activity 7) which are detailed in Michael Klein’s report, should be included on the plans.  Additional detailed planting plans should also be prepared after the grading plans have been analyzed (as noted in Mr. Klein’s report) for activities 1, 2, 3 and 4; and these should be included in the plans.

Response:  All of the plantings have been included in the plans.

- The Soil Scientist should develop and submit a follow-up inspection and reporting protocol for proposed restoration and/or mitigation.  This should be included in the plans.

Response:  A three (3) year program, including follow-up inspection and reporting is

included in the plans. Reports would be submitted twice a year, typically in the

spring and fall.

- The plans should indicate when the proposed trails will be constructed (this is not addressed in the construction sequence).

Response:  The sequence of construction for the proposed trail is included in the plans.

- The following comments are general edits to the plans, as submitted:

- The cover sheet states “submitted: 2/15/13”, this appears to be a reference to the previous submittal.  This should be revised.

- Sheet OSD1, should show the proposed trails; and the legend should include symbols which represent the proposed trails.

- Sheet SP1 is dated 2/15/13; this sheet should reference a new date or it should note revision dates.

- Sheet SE1, note #12, states that “concurrent with road and utility construction, some individual home sites may be prepared”.  Additional guidance should be provided on the plans regarding the number of individual home sites that may be under construction (also refer to comment #10 about phasing).

- Sheet D-5, The Construction and Restoration Sequence narrative should be relocated (currently integrated into the detail for the Sanitary Sewer Construction Regulated Activity 1 drawing).

Response:  All items in item 14 have been addressed.

- Ductile iron pipe should be considered from san. MH-3-23.00 to san MH-551.36 where the sewer crosses through the wetlands (and no clean outs should be installed with the wetlands).

Response:  The town engineer has confirmed in his comments that ductile iron shall be used

where the sewer crosses the wetlands.

- Given the size and scope of this project, all members are encouraged to visit the site.  It may be beneficial to walk the site following the July 2, 2013 presentation, at which the Commission will be given an orientation to the site walk map and a presentation regarding the proposed regulated activities.

Response:  No response required.

- As requested by the Commission, to allow for adequate review time, application revisions or additions should be submitted seven (7) days in advance of the meeting.

Response:  Plans were submitted and all sheets have been revised to record the same revision

date.  He continued by stating that the final plans, dated August 28, 2013,

included nine (9) sheets, and they have been submitted for the record.

Mr. Aston stated that, in discussing the phasing plan with Town Staff, it was recommended that the disturbance of earth be kept to less than five (5) acres at a time. The plan proposes to clear all of the roadways and keep the stumps in place.  Phase 1 will be comprised of approximately three and one half (3½) acres of disturbance (the midpoint of Stratfordshire  to Haynes Road); Phase 2 will be comprised of approximately four (4) acres of clearing and disturbance (westerly of Lenox Road);  Phase 3 will be comprised of the remainder of the roads.  He continued by stating that only one section at a time would be disturbed.

Mr. Ferrigno stated that the reason for the order of the phasing plan is a result of the location and function of the sanitary sewer. He continued by stating that the proposed sanitary sewer drains by gravity and it is located in the lowest point on the parcel.

Mr. Ferrigno also stated that reasonable & prudent alternatives were considered with regard to the location of the proposed sewer line and proposed trail.  He continued by stating that the proposed sewer can be installed up gradient and outside of the wetlands, but pursuing this option would require a much deeper excavation and it would result in the loss of approximately eight (8) very mature trees.  Mr. Ferrigno stated that the sewer line as shown on the current proposed plan can be installed in a shorter time frame (1-2 days), it will be a much shallower installation, with less loss of the mature trees.  Mr. Klein had concluded, in his report, that the current proposed plan is a reasonable and prudent alternative.

Mr. Ferrigno stated that the portion of the proposed trail that will be located within the wetland is sensibly aligned with the remainder of the proposed trail located outside of the wetlands, and it will be less of a disturbance as a result of the wood chips being placed on top of the ground.

Mr. Ferrigno stated that all the activities that are located in the upland review area have been designed in accordance of “best practices” of the day.

Mr. McCahill suggested that Mr. Aston explain the modifications that were made to proposed plan, in response to the concerns of the Town Engineer, for the treatment of storm water.

Mr. Aston stated that, in his initial review, the Town Engineer was concerned about the lack of water retention on site in the proposed two (2) small pond locations (in the northeasterly and southeasterly portions of the parcel) The Town Engineer requested, along with the investigation of the soils on site, that Mr. Aston propose other areas on site where water could be infiltrated and provide more retention. Mr. Aston stated that he has proposed a series of small pools (approximately 2’ deep), that will cascade down alongside the roadway,  on Stratfordshire Ridge, that will offer an area where some of the stormwater can infiltrate back into the ground before it reaches the main water quality basin.  Mr. Aston stated that the “first flush” is still going to go to the bay saver unit, with the cleaner water entering in the  filtration basins.  There will be another series of small pools, in the denser area of development, located on private property and maintained by the homeowner’s association which will outlet to the public drainage system in Lenox Road.  There will be another rain garden/infiltration area, located within the center island of the road system in the denser area of development, which is designed to place some more of the storm water back into the ground.

Mr. Aston stated that the overall impact on the drainage in Big Brook (peak flow) is diminished by approximately ten percent (10%) and the duration of flow before a storm event remains unchanged.

Mr. Aston stated that the portion of the proposed southerly water quality basin that was located outside of the upland review area has been enlarged by approximately twenty five percent (25%).  He continued by stating that with the proposed revisions, the water quality drainage volume is at least doubled for what is required for drainage on the site.

Mr. Ferrigno stated that a question had been previously raised as to why the sewer is being located where it is currently being proposed.  He continued by stating that there is a memo on record from Tim Foster, Avon’s Superintendent of Sanitary Sewers, dated June 24, 2013, addressing this question and stating his endorsement for the current location.

Mr. Applefield stated that he will be abstaining for voting on this application as a result not having the opportunity to review the application. He had no questions at this time.

Mr. Usich did not have any questions at this time.

Mr. Birk inquired that if the proposed sewer installation was moved further to the west as an alternative location, would ductile iron pipe still be used.

Mr. Ferrigno responded by stating that, in his opinion, ductile pipe would probably not be used in this situation.  He continued by stating that when installing sewers through environmentally sensitive areas such as wetlands, the Town Engineer has recommended the use of ductile pipe, which has a use life of one hundred (100) to two hundred (200) years.  If the proposed sewer installation is further to the west, Mr. Ferrigno would have to defer the answer to Mr. Birk’s question to the Town Engineer.

Mr. McCahill stated that, in the past, ductile pipe has been the Town Engineer’s recommendation for a proposed sewer that will pass through wetlands. Mr. McCahill could not state that ductile pipe would be recommended if a proposed sewer was outside of a wetland.

Mr. Birk inquired if the presence of wood chips, as recommended by Town Staff, would introduce new wildlife to the area that is not currently present.

Mr. Ferrigno responded by stating that he is not the expert to answer this question.  He continued by stating that the recommendation to use the wood chips from the stump grindings as they are large, very clumpy, and they are organic.

Mr. McCahill clarified that what will be used are stump grindings versus wood chip grindings.  He continued by stating that stump grindings are stringy in nature, and they provide a better backfill material. Mr. McCahill stated that the stump grindings will be removed when the site is cleaned up.

Mr. Short asked, with regard to the three (3) year inspection/reporting program that is being implemented, if Mr. Ferrigno can elaborate on what issues will be looked at and if there are issues found, are there protocols in place for rectifying the issues.

Mr. Klein stated that the monitoring/contract administration program is designed to make sure “things are done right in the first place”.  It requires a preconstruction meeting, between the site contractor, the planning contractor and the owner’s biologist, prior to any activity in the storm water basins, and the restoration area for the wetlands.  Mr. Klein stated that there will be a review of the rough grading at the fifty percent (50%) stage of construction and at the one hundred percent (100%) time of completion, with a review of the final grading prior to installation of plantings, to review any appropriate substitutions that may be required.  The site would then be inspected in the following spring, and again in the late summer, early fall, to assess the need for remediation as a result of winter damage,  for any indication of the presence of invasives that would need to be controlled, and to assess the general survival of the plantings. He continued by stating that in item #13 in his mitigation/monitoring notes, he has stated  “nuisance vegetation control and/or other remedial measures to be implemented as directed by biologist or Town Staff”.  The $10,000 bond that is proposed, will stay in place until the remediation program is deemed successful by Town Staff.

Mr. Short inquired if the proposed three (3) year monitoring program is standard procedure.

Mr. Klein responded by stating that the industry standard for wetland creation sites is five (5) years.  He continued by stating that the wetlands associated with this application already exist. In his experience, three (3) years has been adequate for monitoring when no new wetland is being created. Mr. Klein stated that if any concerns should arise that have not been resolved, as with any bonded project, Town Staff would have the option to extend the bonding period until they were satisfied.

Mr. Short inquired what the sequence of construction was for the proposed trail.

Mr. McCahill stated that there is a note which had been added to the plans stating when the trail will be constructed.

Mr. Aston stated that the trail will be constructed during the dry season in the late fall.

Ms. Dean, referring to Mr. Klein’s report dated February 14, 2013 and revised through June 19, 2013, stated that Mr. Klein’s concluded that there will be minimal impact to the wetlands.  She inquired if Mr. Klein’s conclusion had remained unchanged.

Mr. Klein responded by stating that his conclusions have remained unchanged.  He continued by stating that an addendum to his report (dated August 28, 2013) was submitted providing additional detail for the sequencing, installation, and monitoring of native plant materials to buffer two (2) of the lots, stabilize soils, and provide water quality treatment and wildlife habitat in the area of the two (2) water quality ponds and the sewer crossing.  Also included was a cost estimate for plant materials and installation for use in setting a bond amount.

Mr. Beauchamp stated that he had no questions at this time.

Mr. McCahill stated that Town Staff has worked very closely with the developer this past summer and confirmed that Mr. Ferrigno has addressed any concerns that were present from the earlier stages, and that he has submitted a set of final plans (dated August 28, 2013) that have captured all the details that needed to be addressed.

Mr. McCahill stated that, according to State Statutes, the public hearing is required to be closed, based on the sixty five day limit for public hearing.  Mr. McCahill explained that the Commission now has an additional thirty five (35) days to act on the application.

Mr. Thier inquired if Town Staff is satisfied with the responses noted in a memo to the Inland Wetlands Commission dated September 3, 2013.

Mr. McCahill confirmed Town Staff is satisfied.

Mr. Thier stated that the Commission will entertain questions from the audience and they will provide an opportunity to hear any new information they feel the Commission should be aware of. He continued by requesting that anyone in the audience who would like to share their position of support, or opposition, to the application, to please be brief.

Mr. Silva, 38 Lenox Road, stated, in all due respect to Mr. Klein, in regard to the three (3) year inspection program, will there be an independent review and validation by Town Staff.

Mr. McCahill responded by stating that he will review the reports, and if necessary, he will meet with the soil scientist and/or the developer to confirm that what is being said in writing is in fact true. Based on his own credentials, Mr. McCahill stated that he is very comfortable validating Mr. Klein’s report.

Mr. Silva, 38 Lenox Road, stated that if Mr. McCahill is not an expert soil scientist, how is the report validated.

Mr. McCahill responded by stating that the issue is the establishment of the plantings as required.  He continued by stating that he can determine that the appropriate number of suitable plants have been established, identify invasive plants, and determine whether or not the invasive plants have been eradicated.

Mr. Silva, 38 Lenox Road, inquired if any erosion issues arose, who would be overseeing any of these issues.

Mr. McCahill responded by stating that it is his responsibility, along with the Engineering Department, to deal with the issues to which Mr. Silva is referring.

In response to Mr. Thier’s inquiry regarding any additional information to be presented, Mr. McCahill stated that, if appropriate, the  Commission can vote tonight or it can continue the discussion for decision on this application at the October 1, 2013 Inland Wetlands Commission meeting. He continued by stating that if the Commission determines that it will vote this evening, he has prepared a “draft” of recommended approval conditions.

Mr. Kohlhoff, 213 Haynes Road, stated that Mr. Aston has proposed enlarging the water quality basins.  He continued by inquiring if there is any concern for the possibility of an increase in the number of mosquitos as a result of more standing water in a tight residential area.  “Is this going to create more problems”?

Mr. Thier stated that the issues related to mosquitos are not the responsibility of the Inland Wetlands Commission.  The Inland Wetlands Commission responsibility is to ensure that there is no significant negative impact to the wetlands.

Mr. Kohlhoff, 213 Haynes Road, stated, it is his understanding, that soil samples were taken at the locations where the water quality basins were proposed to be installed.  His question to Mr. Ferrigno was “how was this done”.

Mr. Ferrigno deferred this question to Mr. Aston.

Mr. Aston responded by stating that he, along with the contractor, used a small backhoe to dig holes in the areas of the proposed south water quality basin, proposed northerly water quality basin, and the two (2) proposed infiltration areas. He continued by stating that he logged the profiles, and took permeability samples, in both the upper and proposed bottom layers of soil in the locations of the proposed water quality basins.  Mr. Aston stated that he used the data from the permeability tests to design the infiltration rates for the two (2) proposed water quality basins and the two (2) infiltration areas.  He added that the samples that were used were undisturbed soil samples.

Ms. Sawyers, 18 Haynes Road, inquired if the Inland Wetlands Commission had considered hiring an independent soil scientist evaluation.

Mr. Thier responded by stating that no independent soil scientist has been hired and no member has motioned to do so.

Ms. Dean stated that it has been concluded that there will be a minimal impact to the wetlands and that it would not be a wise use of Town funds to hire an independent expert to second guess Mr. Klein, who has an excellent reputation, in the absence of evidence of some potential for significant impact to the wetlands.

Mr. Thier confirmed that, when considering hiring independent experts, there would have to be some evidence to doubt the presenting expert’s report. He continued by stating that no such evidence has been brought to the attention of the Commission.

Mr. Applefield inquired if an independent expert were to be hired by the Commission, would the cost be borne by the Town or the applicant?

Mr. McCahill responded by stating that the Inland Wetlands and Watercourses Regulations require that the Town would bear the cost.  He continued by stating that the Commission is considering amending the regulations so that the applicant would be responsibility for the cost of hiring independent experts, if recommended by the Commission.  He continued by stating that this regulation has not yet been adopted.  Mr. McCahill stated that the Commission also has the option to consult with the Natural Resource Conservation Service (NRCS), which would be free of charge as a result of an annual contribution.

He continued by stating that there was no evidence for the need to use their services with regard to this application.

Mr. Short stated that, not only has it been determined that there will be a minimal disturbance to the wetlands, Town Staff has required that there are significant remediation procedures in place to ensure there will be no significant impact to the wetlands.

Ms. Giannini, 38 Lenox Road, stated that she has a “process” question.  She stated, it was her understanding, that the Commission had just received the responses from Mr. Ferrigno.  Her question is, has the Commission had the opportunity to adequately review the nine (9) page revised application and vote on the application this evening? The second part of her question is “when is this revised plan available for the public to look at”?  She continued by stating that there was nothing “on line” for the public to review before this evening’s meeting.

Mr. McCahill responded by stating that the information regarding this application has been available, in the Planning & Zoning Department, ever since this application was submitted on June 13, 2013.  He continued by stating that the plans are not “on line” as a result of their size (24” by 36”).

Ms. Giannini reiterated that it was her understanding that the Commission had just received  Mr. Ferrigno’s comments this evening.

Mr. McCahill stated that the revisions (as a result of Town Staff recommendations) have always been included in the file as the proposed plans were modified.   Mr. McCahill stated that there have been no changes added to the file that have not been in the file over the last four (4) to six (6) weeks.  Mr. McCahill stated that he had requested a final set of proposed plans in order to capture all the revisions to the proposed plans in the event that the Commission determined that it would vote on the application this evening.  There has been no new information presented to the Commission this evening that they were not already informed of.

Ms. Giannini stated that her concern is that the public be made aware of any changes to the plans in a timely manner.

Mr. McCahill stated that the plans have always been available, as public documents, in the Planning & Zoning Department.  With regard to the comments that Mr. Ferrigno distributed to the Commission this evening, Mr. McCahill stated that Mr. Ferrigno had provided a written summary of what he had already stated for the record.  As a result of a request from Mr. McCahill this afternoon, Mr. Ferrigno provided this written document to make it easy for the Commission to follow.

Mr. Applefield, stated that it has been the request of the Commission that any modifications to a pending application be submitted to the Commission at least seven (7) days in advance of the next meeting.  He continued by stating that it is not to say that the Commission has never accepted a document within that seven (7) days, but generally the public would have complete access to the information at least seven (7) days in advance.

Mr. McCahill stated that it is ultimately the Commission’s decision whether it wants to act on this application this evening. He continued by stating that he is prepared to present “draft” recommended approval conditions, if appropriate.

Mr. Usich made the motion to close the public hearing.  Ms. Dean seconded the motion.

The vote was unanimous to close the public hearing. The public hearing was closed at 7:50 p.m.

Mr. McCahill stated that, as a result of the public hearing being closed, no additional information can be submitted to the Commission.  The Commission now has thirty five (35) days to act on this application.

It was the consensus of the Commission, that it will vote on application #729 this evening.

Mr. McCahill distributed a “draft” copy of the recommended approval conditions.  They are as follows:

If approval is considered by the Inland Wetlands Commission, in addition to standard conditions, Town Staff recommends the following conditions:

- The establishment of a double row of native shrubs and understory trees

along the limits of work on lots #6470018 and #6470026 shall be installed as soon as practical; and prior to the issuance of a Certificate of Occupancy for the proposed home(s).

- A bond in the amount of $10,000 shall be posted, prior to the start of any

regulated activities, to ensure compliance with the construction,

implementation, and successful planting of the water quality basins; and

proposed wetland mitigation plantings on lots #6470018 and #6470026.

- All proposed construction adjacent to, and within, the

wetlands/watercourse shall be completed in a timely manner and

stabilization, and restoration, shall be completed as soon as practical.

- The stormwater basins and wetland restoration/mitigation areas shall be

monitored by a wetland scientist or biologist twice annually for three (3)   growing seasons post-construction.  Reports are to be submitted annually  to the Town Staff to document stable soils and dominance by desirable,  native and non-native vegetation.

- There shall be strict adherence to the phasing plan as shown.  Any

changes to the phasing plan shall be provided to Town Staff, in writing,  and approved prior to any modification of the construction activities associated with the phasing.

Mr. Short requested clarification on condition #4.

Mr. McCahill responded by stating that typically the spring and fall inspection reports would be summarized in an annual report, with a total of three (3) reports being submitted for the record in the Planning & Zoning Department.

There being no further questions or comments, Mr. Usich made the motion to approve application #729 subject to the standards conditions and the conditions recommended in Mr. McCahill’s “draft” memo dated September 3, 2013.  Ms. Dean seconded the motion.

Mr. Birk, Mr. Short, Ms. Dean, Mr. Usich, Mr. Beauchamp, and Mr. Thier voted to approve the application.  Mr. Applefield abstained.  The application was approved.

NEW APPLICATIONS:

APPL. # 732 – Ensign-Bickford Realty Corp., owner/applicant: Requests within the 100’ upland

review area:  1) Excavating and removal of unsuitable soils; 2) Stockpiling and sorting of

excavated materials; 3) Filling and compacting of clean soil material. Location 70 Ensign Drive,

Parcel 2210070.

Present was Gus Jasminski, Manager of Design & Construction, Ensign-Bickford Realty Corporation, C. Anthony DiFatta, Jr., Ensign-Bickford Realty Corporation, and Robert C. Stevens, Stevens Land Architecture.

Mr. Jasminski described the location of the parcel subject to this application.  The parcel is bordered by Route 10, Fisher Drive, Ensign Drive and the Marriott Residence Inn.  He continued by stating that the parcel also borders a fourteen (14) acre wetlands.

Mr. Jasminski stated that the site had been used as a burn ground up until 1968.  Any materials that had been used for packaging explosives were burned on a regular basis.  At the corner of Ensign Drive and Bickford Drive, there was a sandpit that was periodically excavated, with the sand from that sandpit being used to cover the ash.

Mr. Jasminski stated that the ash pit is approximately one (1) acre of the subject parcel and that it borders the wetlands. The soil in this area consists of a series of layers comprised of sand and ash.  He continued by stating that the applicant’s intent is to remove the ash.  Mr. Jasminski stated that along the edge of the wetlands, it has been discovered that there is also the evidence of asphalt and concrete that had previously been dumped on the site.  He stated the applicant also proposes to remove, and recycle, these materials.

On August 30, 2013, the applicant received a Solid Waste Landfill Disruption permit from the State of Connecticut Department of Energy and Environmental Protection (DEEP).  Mr. Jasminski explained that the permit requires that the applicant ensure that all the material from the burn areas, right down to virgin ground, be removed, that the ash and sand be separated, and that the ground below is tested to ensure there are no pollutants in the soil. DEEP has required this to be excavated in fifty foot (50’) by fifty foot (50’) segments. Mr. Jasminski explained that the ash that is separated is not hazardous waste, and will be trucked to a designated landfill where it will be treated as cover material. After the sand is removed, it will be stockpiled on site, while the ground below is tested to confirm there are no pollutants in the soil.  The excavated soil is also tested to confirm that it is clean enough to be placed back on the site.  The soil test results should be confirmed in approximately one (1) week, at which time, the excavated areas could then be refilled and compacted.

Mr. Jasminski stated that there is another Ensign-Bickford Realty parcel on Bickford Drive from which sand will be excavated to refill the subject parcel.

Mr. Jasminski stated that they would like to start the process in October and that the work will be in process for approximately three (3) to six (6) weeks, depending on the receipt of the test results.  He continued by stating that the State requires an extensive series of requirements that they will adhere to throughout this process.

With regard to the wetlands protection, Mr. Jasminski stated that silt fence and hay bales will be installed at the edge of the wetlands.  He continued by stating that there is a construction  entrance off of Fisher Drive.  Mr. Jasminski stated that the construction entrance runs over a sewer easement.  He also stated that there will be a small amount of tree clearing on the east side of the construction entrance, along the sewer easement, to enable trucks easy access to the area to be excavated and to ensure tree roots are not growing into the sewer line.  The construction entrance will have a stone bed to ensure that no sand is tracked onto Fisher Drive. The excavation, as previously stated, is proposed for October when the ground water and rain levels are historically down to ensure no long term disturbance.

Mr. Jasminski stated that there will be some tree clearing in the one hundred foot (100’) upland review area as a result of consultation with Town Staff.  The designated trees and stumps will be surgically removed.

Mr. Jasminski, referring to the “Wetlands Assessment – Former Burn Grounds Restoration” report, prepared by George T. Logan, REMA Ecological Services dated August 15, 2013 and revised through September 3, 2013, stated that it was concluded that this process is a temporary disruption which has a long term benefit and it will improve the quality of the water in the wetlands over time.

Referring to item # 2 in Mr. McCahill’s memo dated August 22, 2013, in which Mr. McCahill identified a concern that the map in Figure 3 on the Avon Park North Site Plan prepared by CONECO Engineers and Scientists was not legible. Mr. Jasminski distributed an original full size copy of the map for the Commission to review and explained that the original map used for Figure 3 had been used approximately ten (10) years ago to show the areas of core samples.

Mr. Beauchamp inquired as to why the applicant is proposing that this work be done.

Mr. Jasminski responded by stating that banks will not accept financing on a parcel that has a solid waste landfill.  He continued by stating that in order to sell the property, the site has to be cleaned up and has to obtain a “sign-off” from the State so that any perspective buyer in the future can get financing.

Mr. Jasminski, in response to Mr. Beauchamp’s question, stated that this parcel is “buildable”.  He continued by stating that this parcel is part of a ninety seven (97) acre site that received approval for a mixed use zone from the Planning & Zoning Commission this past year.  Mr. McCahill clarified that this is part of the proposed Avon Town Center Mixed Use Development Plan.

Mr. Usich inquired if there was ash burning within the wetlands.

Mr. Jasminski responded by stating that the actual burning ground was approximately fifty feet (50’) from the wetlands.  Testing was conducted in the wetlands with no contaminants found.

Mr. Jasminski stated that Mr. Logan, REMA Ecological Services, suggested two alternatives  for treating invasives on the site.  The first alternative suggests that once the topsoil is returned to the site, following remediation, it can be covered with clear plastic which is left in place for at least one and one half (1½) weeks. He continued by stating that the second alternative Mr. Logan suggested was to spot treat invasives with an herbicide prior to removing the topsoil from the area to be remediated.  Mr. Jasminski stated that this alternative was the least favorable as they do not want to add more chemicals to the area. He continued by stating that he is working closely with his landscaper to propose another alternative for treating invasives.  Mr. Jasminski is requesting that the Commission allow the applicant leeway in determining the method to be used in order to rid the site of invasives.  He continued by stating the preference is to kill the invasives without the use of herbicides.

Mr. Applefield asked for clarification between map L-2 and L-4.

Mr. McCahill responded by stating that L-4 is the regulated activities site walk map.

Mr. Applefield asked for the clarification of the road designated as “brown” on map L-4 and “yellow” on map L-2.

Mr. Jasminski explained that the road designated as “yellow” on map L-2 is currently a construction entrance from Fisher Drive.  He continued by stating that this road will need to be widened to accommodate the trucks that will be entering and leaving at this point.  This will be the only construction entrance from which trucks can access the site. In order to facilitate the Commission’s site walk, the “yellow” road was extended and shown as a “brown” road on map L-4, the regulated activities site walk map.

Mr. Applefield inquired why the large wetlands located in a south easterly location on the parcel are shown on the proposed plans for this application.

Mr. Jasminski responded by stating that the wetlands were included when the map was enlarged but is not part of this application.

Mr. McCahill stated that the intent of the proposed maps was to show the area at a desired scale, which included the larger wetlands to which Mr. Applefield is referring.

Mr. Applefield, referring to the reference of parcel #3790065 and parcel #2210070 in Mr. Moeller, Soils Consulting Service report, requested clarification of which description of the parcel applied to this application.

Mr. Jasminski responded by stating this application was submitted for parcel #2210070.

Mr. McCahill stated that Mr. Moeller had delineated the wetlands in 2010.  Ensign-Bickford Realty Corp is now working with George Logan, REMA Ecological Service LLC.  Mr. McCahill had requested that Mr. Logan re-confirm, in his report dated August 15, 2013, the delineations of the wetlands for parcel #2210070.

Mr. Applefield stated that, for the record, there is a legal obligation to clean up contamination on the property.  He continued by stating that it is not legal to have property that is contaminated and unaddressed.

Mr. Jasminski responded by stating that, for the record, there is no contamination on the property as a result of the soil not meeting the criteria for determining contamination.

Ms. Dean stated there appears to be a professional disagreement regarding this matter.

Mr. Short inquired if there will be any runoff of dust or ash into the wetlands as a result of the use of a water wagon to reduce the amount of dust.

Mr. Jasminski responded by stating “no”.  The ash will be dug, separated and placed directly into a lined container.

Mr. Short inquired how the ash will be separated.

Mr. Jasminski explained that there are clear layers of brown ash that are evidenced in the borings and these layers will be separated.

Mr. Applefield inquired how Mr. Jasminski would prefer the Commission address the issue relative to the control of knotweed (invasives).

Mr. Jasminski responded by stating that he would like the Commission to offer the applicant some flexibility, while working with Town Staff, on how to kill the knotweed/invasives and to determine an alternative to what had been suggested by Mr. Logan.

Ms. Dean stated that we should applaud the applicant’s efforts to clean up the wetlands.

There being no further comments or questions, Mr. Beauchamp made the motion to approve application #732.

Mr. McCahill stated that he has “draft” approval conditions dated September 3, 2013 which are as follows:

If approval is considered by the Inland Wetlands Commission, in addition to standard conditions, Town Staff recommends the following conditions.

- The trees to be removed shall be flagged, and approved by Town Staff, prior to cutting. This shall be noted on the final plans.

- All proposed regulated activities shall be done with strict compliance to the Excavation, Erosion and Sediment Control Plan, prepared by CONECO Engineers and Scientists. A final report shall be submitted to the Commission, following completion, confirming that the work was conducted in accordance with the Plan; and that the site has been stabilized with the recommended seed mix.

- The proposed regulated activities shall be done during a seasonally dry period.  This shall be noted on the final plans.

- The report from REMA Ecological Services, LLC (page 4) includes (2) two recommendations: (1) the top 8-12 inches (of soil) should be removed from the site, and replaced with 4-6 inches of screened topsoil that is free of invasives, and (2) the area to be excavated should be seeded with a warm season grass/wild flower mix, such as “Stabilizer” mix distributed by “Colonial Seed Co.”.  The “Wetlands Assessment – Supplement (No. 2) – Former Burn Grounds Restoration” (dated September 3, 2013) includes: Alternative #1 – Once the topsoil has been returned to the site, following remediation, it can be  covered with clear plastic which is left in place for at least one and a half (1½) weeks.  Once plastic is removed, seed to a warm grass.  Alternative #2 – Before removing the topsoil in the area to be remediated, spot treat invasives using an herbicide (invasives can be easily identified from sprouts).  Allow a few days for the herbicide to work down to the root systems, before stockpiling the topsoil.  After replacing the topsoil, top-dress with two (2) to three (3) inches of topsoil that is free of invasive plants, and heavily seed to a warm season grass cover.  If late in the season, that is, after October 1st, include a winter rye in the seen mixture and cover with straw. These recommendations/alternatives shall be noted on the final plans.

Mr. McCahill suggested that condition #4 may need some flexibility.  He continued by stating that a sentence can be added to indicate that Town Staff may consider other options for control of invasives.

Mr. Applefield, referring to condition #2, inquired what “following completion” implies. He inquired what would Town Staff be looking for.

Mr. McCahill responded by stating that Town Staff would be looking for a timely report.  It was the consensus of the Commission, and the applicant, that the final report shall be submitted to the Commission within thirty (30) days of completion.

Mr. Beauchamp inquired why the invasives have to be removed if the land is going to be developed at a future date.

Mr. McCahill responded by stating that the recommendations to control the invasives were written in Mr. Logan’s report.  He continued by stating that it is standard protocol that whenever there is an ability to eradicate invasives, Town Staff  recommends taking the opportunity to do so. Mr. Logan had also suggested that warm season grasses be planted once the invasives were removed.

Mr. Beauchamp restated his motion to approve application #732 with standard conditions and the conditions in Mr. McCahill’s memo dated September 3, 2013, with allowing some flexibility for comment #4.

Mr. McCahill stated that the applicant shall work with Town Staff to consider other options for the control of invasives.

Mr. Applefield suggested that” the applicant work with the Town with a means for eradicating invasives or any other non-desirable plants”.

Mr. Jasminski reiterated that the applicant’s intent is to control the invasives without the use of herbicides.

Mr. McCahill asked for clarification of Mr. Applefield’s statement.

Mr. Applefield responded by stating that “the report from REMA page 4 includes 2 recommendations: 1) the top 8-12 inches of soil be removed from the site be replaced with 4-6 inches of screened topsoil that is free of invasives and 2) the area to be excavated should be seeded with a warm season grass wildflower mix such as “Stabilizer Mix” distributed by Colonial Seed”.  He continued by stating that from that language forward, it should state that the applicant will work with the Town to incorporate, as suggested by Ms. Dean, the most mutually agreeable method to control invasives.

Mr. Applefield confirmed that the motion to approve application #732 also incorporates the thirty (30) day time for the final report as stated in condition #2.

Ms. Dean seconded the motion.

Ms. Dean, Mr. Usich, Mr. Applefield, Mr. Short, Mr. Birk, Mr. Beauchamp and Mr. Thier

unanimously approved the application.

OUTSTANDING APPLICATIONS:

APPL. # 730 – Anthony Prushko & Andrea Living Trust, owners; Anthony Prushko,             applicant:  Request within the 100’ upland review area:  1) Construction of a single family             home (replacing house previously destroyed by fire), deck and driveway with related grading; 2) Construction of in-ground pool (12’ x 24’), pool equipment, pool deck and fencing; 3) Install rip-rap apron; 4) Selective tree clearing; and establish new lawn area.  Location: 457 New Road, Parcel 3280457.

Present were Mr. & Mrs. Prushko, Clinton L. Webb, Jr, Environmental Planner/Wetland Ecologist, C. Webb & Associates, LLC, Don Cardwell, Cardwell Homes, LLC.

Mr. Webb began his presentation by giving a quick summary of the application for the Commission as presented at the July 2, 2013 Inland Wetlands Commission meeting.

In conclusion of his summary, Mr. Webb stated that the subject parcel receives stormwater from New Road that needs to be controlled.  He continued by stating that since the July meeting, a professional engineer, John Martucci, LBM Engineering LLC, who specializes in stormwater design, was hired to design a channel that would handle the stormwater from New Road, for up to a ten (10) year storm event.  Mr. Martucci’s report is in the file and it is dated August 12, 2013.

Mr. Webb stated that it is his professional opinion that the existing stormwater channel is not a regulated watercourse because it does not meet the first criteria of the Town of Avon’s Inland Wetlands regulations for the definition of a watercourse. Referring to his report dated August 15, 2012, Mr. Webb stated that the proposed project will address the concern for controlling the stormwater by installing a stone lined/riprap channel, with plunge pools to flatten out the grade of the channel, from the outlet of the catch basin/storm drain down to the area currently occupied by the sixty inch (60”) oak tree (which is almost dead and will be removed) so that no further erosion will occur.  This proposed activity will allow the homeowner to control any potential soil erosion that occurred in the past thus assuring the protection of the wetland resources further down slope in the watershed.

Mr. Webb stated that he submitted a “Plan Showing the Previous Dwelling Overlayed on Proposed Dwelling” dated August 29, 2013 in response to a request by Town Staff.  He continued by stating that the proposed house, that is approximately the same square footage as the previous dwelling, has been moved forward three (3) to four (4) feet to the east, which places it further from the wetlands.

Mr. Webb stated that the wetland delineation that was done in the 1988 for the previous house, and it is almost exactly the same as the current wetland delineations.

Mr. Webb stated that some existing pavement at the end of the existing driveway will be removed but it will be approximately the same amount of pavement.

Mr. Webb stated that there is a thirty six inch (36”) Metropolitan District Commission (MDC) water main along New Road.  Mr. Webb continued by stating that the MDC has been contacted and they have reviewed the proposed plan as requested by Town Staff.

Mr. Beauchamp, Ms. Dean, Mr. Short, Mr. Birk and Mr. Usich had no questions at this time.

Mr. Applefield stated that he is not convinced that the channel located behind the proposed house is not an intermittent watercourse on the basis of the information before him this evening.  He continued by stating that Mr. Webb’s report states that the channel does not have any “defined channel or stabile bank features” and does not meet the first criteria.  Mr. Applefield continued by stating that, it is his understanding, that if a channel meets two (2) of the criteria for the definition of a watercourse, then it is considered a watercourse.

Mr. Webb responded by stating that what Mr. Applefield states is true, however, the channel must meet the first criteria before being considered a watercourse.  As noted in Mr. Webb’s report dated August 15, 2013, The Town of Avon Inland Wetlands and Watercourses Regulations states the following: “Intermittent watercourses shall be delineated by a defined permanent channel and bank and the occurrence of two (2) or more of the following characteristics: (a) evidence of sour or deposits of recent alluvium or detritus, (b) the presence of standing or flowing water for duration longer than a particular storm incident, and (c) the presence of hydrophytic vegetation”.

Mr. Applefield had a difference of opinion as to the interpretation of the definition of a watercourse as stated in the regulations.  Mr. Applefield assumed that the delineation that was done for the wetlands did not include the channel as a wetland delineation based on the soil type.

Mr. Webb confirmed that was true.

Mr. Applefield concluded that the channel was not delineated as a wetland.

Mr. McCahill stated that this issue was discussed at length at the July 2, 2013 Inland Wetlands Commission meeting.  He continued by stating that if you visit the subject parcel, what is obvious is that the channel has no defined banks.  The eroded channel moves as the contour of the ground, stones, and sticks/logs allows.  In response to Mr. Applefield’s question, Mr. McCahill stated that the channel does not continuously contain water.

Mr. McCahill reiterated that if the channel does not have a defined bank, the applicant did not have to proceed any further in considering the qualifying criteria for identifying a watercourse.

Mr. Applefield stated that the definition of a watercourse as stated in Mr. Webb’s report is only part of the definition as stated in the Inland Wetlands and Watercourses Regulations. There are two (2) sentences from the definition of a watercourse in the Inland Wetlands and Watercourses Regulations, that precede the definition included Mr. Webb’s report, and were not included in his report. He continued by stating that if there is water in a channel all year round, it is defined as a watercourse, regardless if it has a defined bank or channel. Mr. Applefield stated that he is questioning the analysis because only one half of the definition has been included in Mr. Webb’s report.  He continued by stating that he is not disagreeing with the conclusion, but he wants to be clear of the analysis.

Ms. Dean stated that she does not consider this an intermittent watercourse as it is described.

She continued by stating that it appears that this is runoff that is causing erosion, with no defined channel, and it does not have a continuous flow of  water all year long.

Mr. McCahill stated that it was concluded that the intermittent water flow was not an intermittent watercourse, to enable the applicant to proceed with the appropriate course of action to control the erosion and stormwater runoff from New Road. This conclusion was based on the drainage report from Mr. Martucci.

Mr. Applefield requested a description and clarification of the function of the proposed plunge pools.

Mr. Webb responded by stating that the proposed main channel will be approximately one foot (1’) to two feet (2’) deep.  He continued by stating that where there is a break in the topography, the flow of water in the channel would drop twelve inches (12”) into a plunge pool, would then rise out of the plunge pool and continue to flow in the channel to the next plunge pool.  There are a total of four plunge pools that have been designed to slow down the velocity of any flow of water.  At the location where the dead sixty inch (60”) oak tree will be removed, Mr. Webb has proposed filling the remaining twelve foot (12’) wide, two (2) to three (3) foot deep hole with stone, in place of an additional plunge pool, which will allow the water to flow through a level spreader.

Mr. Applefield inquired what will be the composition of the proposed channel.

Mr. Webb responded by stating that the channel will be modified rip rap, comprised of six (6) to ten (10) inch stone, that will compacted into the base and sides of the channel.

Mr. Applefield inquired if the well shown on proposed plans was in the middle of the channel.

Mr. Webb responded by stating that it is not located in the channel, but the location is included on the plans at the request of Town Staff.

Mr. Cardwell stated that the well existed from the previous house.  He continued by stating that when wells are drilled, there is a casing that extends down to the bedrock, the casing is entirely sealed so that the well water is not compromised.

Mr. Webb stated, in response to Mr. Applefield, that the septic system was designed in 1988 and it is still adequate to accommodate the proposed home.  He continued by stating that the Farmington Valley Health District also required the applicant to dig test pits last month in the reserve area.  Mr. Webb stated that it was determined that the one thousand (1000) gallon septic tank is still there and that it is still functional.

There being no further questions or comments, Mr. McCahill stated that he has prepared “draft” conditions ready to present to the Commission.

Mr. Applefield stated that the Commission should not accept submissions, other than minor revisions, on the day of the meeting.  Applicants should be made aware that last minute submissions are not acceptable and will be have to be reviewed at the next scheduled meeting.

Mr. Thier asked Mr. McCahill to ensure that the rules of submission be stressed to future applicants more forcefully.

Mr. McCahill concurred, but noted that, in the case of this application, there were only two (2) modifications that were submitted this evening. The first was the note that was added to the proposed plan that states “maintenance of the swale is the responsibility of the property owner.  This plan should be filed on the land records and referenced in the deed that is also filed on the land records so that current future owners of this property are alerted to this requirement”. The second modification, at the request of the Town Engineer, was to ensure that the footing drains and roof leaders are in separate pipes.  These minor changes were considered “housecleaning” issues.

Mr. McCahill recommended the following approval conditions:

- The proposed stone lined stormwater channel shall be installed as soon as  practical;

and prior to the issuance of a Certificated of Occupancy for the  proposed dwelling.

- A note has been added to the plans indicating that maintenance of the swale is the          responsibility of the property owner.  This plan shall be filed on the land records so         current, and future, owners of this property are alerted to this requirement.

- The Metropolitan District Commission (MDC) shall be contacted for  approval of

any work in close proximity to the existing thirty six inch (36”) water main along

New Road.

Ms. Dean made the motion to approve application #730 with the standard conditions and the three (3) conditions set forth in Mr. McCahill’s  memo dated September 3, 2013.

Mr. Short seconded the motion.

Mr. Usich, Mr. Applefield, Mr. Birk, Mr. Thier, Mr. Beauchamp, Mr. Short, and Ms. Dean voted  unanimously to approve the application.

COMMUNICATIONS FROM THE PUBLIC:

There were no communications from the public at this time.

OTHER BUSINESS:

There was no other business at this time.

STAFF COMMENTS:

There were no staff comments at this time.

Authorized Agent Approvals:

Mr. McCahill stated that he issued a staff approval for a home that is currently on the market located at 88 Bayberry Hill Road.  The owners were informed during the process of a home inspection that their septic system was failing and would need to be replaced.  Test pits were completed to determine where the new septic system should be re-located.  He continued by stating that there are wetlands located to the south of the property.  The existing distribution boxes and septic system were located southerly of the house in close proximity to the wetlands.  Mr. McCahill stated that the distribution boxes and the proposed septic system have been re-located uphill and further from the wetlands.  A staff approval was issued on August 14, 2013.  The legal notice was posted on August 20, 2013.  Mr. McCahill stated that the septic system installation and restoration has been completed.

APPROVAL OF MINUTES:  July 2, 2013

Chairman Thier asked if there were any corrections to the minutes.  There being no corrections to the minutes, Mr. Beauchamp made the motion to approve the minutes. The motion was seconded by Ms. Dean. The minutes were approved by Mr. Beauchamp, Mr. Birk, Mr. Thier, Ms. Dean, Mr. Usich, and Mr. Short.  Mr. Applefield abstained.

NEXT MEETING:   October 1, 2013

There being no further business, the meeting was adjourned at 9:05 p.m..

Respectfully submitted,

Judy Schwartz