BOARD OF HEALTH

MINUTES

17 FEBRUARY 2009

PRESENT William T. Walsh, Chairman, Frederick S. Gremza, Vice Chairman, James F. Malley, P.E. and Colleen M. Strapponi, Secretary.

CALL TO ORDER BY WILLIAM T. WALSH

OLD BUSINESS

OUTDOOR HYDRONIC HEATERS

Ms. Strapponi advises the Board that she has prepared the Amendment to the State Regulations as follows:

Clean wood means wood that has no paint, stains, or other types of coatings, and wood that has not been treated with preservatives, including but not limited to, copper chromium arsenate, creosote, or pentachlorophenol.  Wood that has been air dried so that it contains less than 20 percent moisture content and has been cut, stacked and dried for at least six (6) months.

Heating season means the period beginning November 1st and ending April 30th inclusively.

Mr. Walsh requests the Board members review the amendment for discussion at the next Board’s next meeting.

Ms. Strapponi informs the Board that she has also prepared a draft of a letter advising the existing wood burner units informing them of the 01 March 2009 deadline.  Mr. Walsh takes the letter under advisement.

TRASH REGULATIONS

Mr. Walsh advises the Board that he has not has an opportunity to review the proposed trash regulations and that the Board members review the draft and discuss the regulations at the Board’s next meeting.

TOBACCO REGULATIONS

Continuation of the Board’s discussion about the new regulations.  Mr. Walsh instructs Ms. Strapponi to prepare the regulations in final form for signature by the members at the next Board meeting.

NEW BUSINESS

22 WHIPPLE AVE.

Mr. Walsh acknowledges Mr. Eric Bissette from Andrews Survey who is the engineer for the applicant homeowner, Laurie Ann Dupre, who is also present along with James Malley, P.E. engineer for the Town of Blackstone.  Mr. Malley and Mr. Bissette review the proposed septic plan.  Mr. Bissette advises the Board and Mr. Malley that he has requested the following local upgrade requests:  1.  system property line setback of less than 10 feet, the request is for 7 foot setback, per 15.405(1)(a);  2.  system setback to building slab of less than 10 feet, the setback request is 9 feet, per 15.405(1)(b);  3.  ground water separation less than 4 feet to bottom of system, the request is for 3 feet from bottom of system, per 15.405(1) (h) and 4.  groundwater separation less than 12 inches from tees of tanks, the request is for 6 inch separation from outlet invert, per 15.405(1)(i).  Mr. Malley advises the Board that the aforementioned local upgrades are within the title 5 requirements and that said upgrades will not compromise the integrity of the system.  Mr. Gremza also notes that the plans does not include a zabel filter, inspection port, no speed dials on d box, the cover to grade does not indicate that it is 24 inches, the system is not vented and there is no 40 ml. barrier referenced on the plan. Mr. Malley advises Mr. Gremza that these matters were discussed with Mr. Bissette who will include them on the revised plan that will be submitted after tonight’s meeting.  Mr. Gremza thanks Mr. Malley for the update.  The parties agree to submit the revised plans for Mr. Malley’s review and approval, prior to the next scheduled board meeting.

3 FARM STREET

Ms. Strapponi advises the Board that the property at 3 Farm Street, Blackstone, MA (the Roast House Restaurant) has been conveyed, according to the list of conveyances provided by the Assessor’s Office which Ms. Strapponi advises is attached for the Board’s review. Mr. Walsh inquiries as to the Title 5.  Ms. Strapponi advises the Board that a Title 5 is not on file.  Mr. Walsh motions to request the new property owner’s attendance at the next Board meeting.

274 BLACKSTONE STREET

Ms. Strapponi advises the Board that a letter has been sent to the homeowner regarding the septic system failure.  Ms. Strapponi also advises the Board that the property owner has filed and paid for a percolation test.  Mr. Malley confirms that the engineer has contacted his office for a percolation date.

FOOD PERMIT

Ms. Strapponi advises the Board Holbrook’s Pub and Grub has applied for a food permit. Ms. Strapponi states that the applicant has completed the Serve Safe Course and that the property has been inspected by the health agent and is scheduled to be inspected by the health inspector.  Mr. Gremza motions to sign the food permit, second Mr. Walsh. The vote is unanimous.

SEPTIC PLANS

Mr. Malley advises the Board that he has approved the septic plans for Lucien Collins for his parcel located on Orchard Street, Blackstone, MA.

BILLS:

Mr. Gremza motions to pay the following bills:

VNA – February 2009						$565.84

Woodward and Curran Inv. #67465			            	$1,500.00

second Mr. Walsh. The vote is unanimous.

Mr. Gremza motions to adjourn the meeting, second Mr. Walsh. The vote is unanimous.

Respectfully submitted,

Colleen M. Strapponi