TOWN OF BRIMFIELD

CONSERVATION COMMISSION

COMMONWEALTH OF MASSACHUSETTS

Salisbury Annex Bld.

23 Main Street

Brimfield, MA 01010

Office: 413-245-4100 ext. 8

FAX: 413-245-4111

BRIMFIELD CONSERVATION COMMISSION

MEETING SATURDAY 6/30/2012 @ 9:30 AM

Members Present: Ian Lynch, Roger deBruyn, Joe Collins, Matt Toth

Meeting Opens: 9:53 AM – Ian Lynch

10:08 AM Administrative Discussion: Meeting Tuesday July 10, 2012 @ 7 PM

This meeting is flea market week, but we will still have a meeting.  It will begin @ 7 PM and we will discuss administrative matters, such as: changing meeting times, recommendations for members, possible promotion of Angela to Agent.  Angela will contact the people who are interested in serving on the commission and have them attend at 7:30 PM.  There are no hearings or meetings scheduled for that night.

10:12 AM NOI: DEP #117-0320 Brimfield Highway – East Hill Road

Zach Lemieux, of the Brimfield Highway Department, attended the hearing to propose a plan for the replacement of culverts and the paving of East Hill Rd.

The DEP provided several concerns about the project, including:

- Culverts that are out of jurisdiction do not require a filling, specifically those with no hydrological connects and those that are out of the wetlands

- 401 Clean Water Certification may be needed for the stream crossings since stream crossing standards are not considered in the application.  If needed, the highway department must follow the Army Corps regulations to bring the culverts up to current stream crossing standards.

A site visit conducted this morning, Saturday June 30, 2012 at 8:30 AM, confirmed three culverts were determined to be in jurisdiction and three are not.  The ones in jurisdiction are: #43, # 79, and #220.  #220 is the most challenging and the only one that will require water diversion for replacement to occur.  A condition will be incorporated to address the concerns and process involved in pumping the water.

In order to meet DEP requirements and standards for stream crossings the culverts will be as follows:

# 43: 24” Culvert

# 79: 15” Culvert; if the culvert is any larger it will severely damage the roots of a nearby 			    tree.  Additional, at this specific site there has never been an issue of overflow or 			    flooding so a 15” would be sufficient

#220: 36” Culvert:  This is the only steady stream present, the one which requires the 				     pumping of the water for replacement.

Brimfield Highway Department may begin work in the meantime, before the appeal process is over, as long as they only replace the culverts determined to lay outside of a jurisdictional resource areas.  Once the 10 day appeal process is over they may complete the work.

Motion made by Joe Collins at 10:30 AM to close the hearing based on conversations with the DEP and the site visit today, Saturday June 30, 2012; and to re-view the previously drafted Orders of Conditions.

Motion seconded by Matt Toth

No further discussion – vote taken – 4 yes 0 no 0 abstain

Motion Carries

Angela previously drafted conditions for the paving and culvert replacement for East Hill Road.  The commission reviewed the draft conditions, and further added the conditions of:

- The replacements of culverts at #43 shall consist of 24” Culvert and at #220 a 36” culvert, to be buried in the bed to allow natural sediments to fill the pipe.  All other culverts to be replaced shall consist of 15” pipes.

- All replaced culverts will be covered one (1) foot below the lowest water point to allow for natural sedimentation to accumulate at the base of the pipe.

- If required, the discharge from any pumping of water shall be discharged through a filtered medium to avoid erosion.

Motion made by Joe Collins at 10:39 PM to accept and sign the Orders of Conditions.

Motion seconded by Matt Toth

No further discussion – vote taken – 4 yes 0 no 0 abstain

Motion Carries

10:46 AM Sign OOC: DEP # 117-0319 Dept. Conservation & Recreation – Dean Pond

Angela previously drafted conditions for the management of Dean Pond.  The commission reviewed the draft conditions.  A five (5) year OOC was denied by the commission.  The Order will only be valid for three (3).  At that point the applicant may ask for an extension.

Motion made by Matt Toth at 11:14 AM to accept and sign the Orders of Conditions

Motion seconded by Joe Collins

No further discussion – vote taken – 5 yes 0 no 0 abstain

Motion Carries

Meeting adjourned 11:30 AM

Motion made by Matt Toth to adjourn at 11:30 AM

Motion was seconded by Joe Collins

No further discussion – vote taken – 4 yes 0 no 0 abstain

Motion Carries

Sincerely Submitted

Angela Panaccione, BCC Assist.