TOWN OF BRIMFIELD

CONSERVATION COMMISSION

COMMONWEALTH OF MASSACHUSETTS 01010

Salisbury Annex Bld.

23 Main Street

Brimfield, MA 01010

Office: 413-245-4100 ext. 8

FAX: 413-245-4111

BRIMFIELD CONSERVATION COMMISSION

MEETING TUESDAY 7/24/2012 @ 7:00 PM

Members Present: Matt Toth, Ian Lynch, Roger deBruyn, Steve Phifer

Meeting Opens: 7:44 PM – Ian Lynch

7:44 PM NOI: DEP #117-0321 Jack Keough Septic Replacement – 44 Brookfield Road

Jack Keough attended tonight’s hearing with representative Mark Farrell, of Green Hill Engineering, to propose a plan replacing the septic system at 44 Brookfield Rd.  The proposed project is a complete septic system replacement including the pumping and filling of the existing leach field with clean sand; and the installation of a new 1500 gallon 2-compartment septic tank w/ effluent filter and a 40’ long x 20’ wide x 6” deep leaching chamber bed.

A Bordering Vegetated Wetland (BVW) is located along the eastern property line.  The proposed tank and leaching field will be approximately 51 feet from the edge of the BVW.  A stream is located in the back of the property though it is difficult to define the edge of the bank.  A siltation fence is proposed approximately 10 feet from the edge of the BVW as a limit of work and to protect the resource area from sedimentation during the construction phase.  The erosion control measures shall be maintained until the disturbed area is stabilized and revegetated. The commission recommended straw waddles as an alternative to silt fences for the erosion control.

The proposed location is the only viable option.  It is the farthest location from the wetlands and flowing water and it is in compliance with Title 5 setbacks.  No other alternative is possible and the new proposed septic will be an improvement from the existing septic.  No site visit is required; all the commissioners are familiar with the property and the resource area.  All work can be viewed from the road at any time as well.

Motion made by Matt Toth at 8:21 PM to close the hearing and issue the OOC

Motion seconded by Steve Phifer

No further discussion – vote taken – 4 yes 0 no 0 abstain

Motion Carries

BCC issued, signed and hand delivered the OOC immediately to Mr. Keough and Mr. Farrell.  Mr. Farrell received the original, Mr. Keough a copy.

8:20 PM NOI: DEP # 117-0322 Alan & Molly Harwood Home Construction – 46 First Street

Mr. and Ms. Harwood attended tonight’s meeting with representative Mark Farrell, of Green Hill Engineering, to propose a plan for re-building their cottage at 46 First Street.

The Applicant proposes to remove the existing 3-seasons cottage and replace it with a new winterized all-season 4 bedroom house.  The new house will have additions of 14 feet to the back (west) side and 5 feet to the northern side of the house along with an additional 10 feet of deck to the north side and the rear.  The applicant will be maintaining the current location of the front (east) face and southern corner of the dwelling.  The excavation for the new foundation will be minimal and the current house has a walk out basement in the front that will be retained.  The entire house replacement is within the 100’ buffer zone.  Little Alum Pond is located along the eastern property line and the proposed cottage will be 34’ from Little Alum Pond.

The proposed project also includes a septic system replacement including the pumping and filling of the existing cesspools and the installation of a new 1500 gallon 2-compartment septic tank w/ effluent filter and a 35’ long x 24’ wide x 1’ deep leaching chamber bed.  The proposed septic system will be approximately 58 feet from the edge of the pond.  The proposed leaching field will be approximately 288 feet from the edge of the pond, therefore located out of our jurisdiction.

A siltation fence is proposed approximately 10 feet from the edge of Little Alum to serve as a limit of work and to protect the resource area from sedimentation during the construction phase.  The siltation fence shall be maintained until the disturbed area is stabilized and revegetated.  A special condition will be included for the replacement and repair of the front steps to the water to ensure erosion controls are placed below and around the steps prior to and during construction.  Angela will review past NOI’s from Sherman Lake addressing similar wall/step replacements to the water to develop appropriate conditions.  The applicants will also retain as many trees as possible on the site.

Issues that arise with this plan are:

- No Board of Health approval of the septic plan yet

- No NHESP determination as of yet

- Increase of impervious surfaces by 50%: Deck design to mitigate impacts

A site visit is scheduled for 9 AM Saturday August 11, 2012 to locate the building and septic system in relation to wetlands and the pond, verify the delineations and determine if other resource areas are present.  The applicant and representative will stake the property before hand to show the new corners of the house, deck, septic tank, pump chamber and leach field.

Motion made by Matt Toth at 8:43 PM to schedule a site visit for 9 AM Saturday August 11, 2012 and to continue the hearing until 7:30 PM on Tuesday August 14, 2012

Motion seconded by Steve Phifer

No further discussion – vote taken – 4 yes 0 no 0 abstain

Motion Carries

8:45 PM Violation: Dave Mayo   10 Shaw Road

Dave Mayo, of 10 Shaw Rd, constructed a path through a significant amount of wetlands bordering Little Alum pond, crossed and filled at least three streams and removed sand from the lake in order to build and gain access for a boat ramp/launch into the lake.  The area appears to have over 1,000 square feet of wetland alterations that need to be addressed and restored.  Mr. Mayo was informed to stop work immediately and file an NOI. An Enforcement Order was issued to Mr. Mayo on June 12, 2012 after several months of non-compliance.  The EO was to immediately cease and desist from any further activity and file a NOI in complete compliance with the WPA and its regulations and submit it to BCC no later than Wednesday, July 11, 2012.  This NOI should evaluate the options Mr. Mayo has for constructing a path for river access and a potential dock on the lake.  Failure to submit a completed NOI will require full restoration of the site.

A site visit was conducted on Saturday July 7, 2012 at 9:00 AM at 10 Shaw Road to determine the extent of site restoration.  It was determined there is still fill in the wetlands and Mr. Mayo just covered it with brush and planted grass over the gravel he previously laid at the site.  It appeared Mr. Mayo was just attempting to hide the path previously constructed and has no intent of restoring the land.  BCC is requesting a restoration plan addressing the alterations and proposes wetland replication on a 1:1 scale.  The fill still in place needs to be fully removed as soon as possible, not just hid from plain site.  A deadline of Wednesday July 11, 2012 was set for the NOI to be received and currently Mr. Mayo is not in compliance with the request.

Mark Farrell, representative to Mr. Mayo, was made aware of the current violation to the Enforcement Order and informed the commission that Mr. Mayo is not intending to develop the area further and therefore was no longer going to file an NOI.  Angela informed Mark that a requirement of the EO was to file an NOI or complete restoration would be required.  Given Mr. Mayo doesn’t want to develop the land any further, complete restoration will now be required.  Mark will contact Mr. Mayo about the restoration plan and will inform BBC on the progress.  If Mr. Mayo does not take action an additional EO should be issued and the DEP contacted for further assistance.

8:53 PM Violation: Richard Cayer 59/61 Haynes Hill Road

Mr. Cayer attended tonight’s meeting with his representative from EBT Environmental, Mr. Krevosky.   Mr. Krevosky supplied the commission with a draft restoration plan and photo documentation of the site.  The current restoration plan was a site plan and was not accompanied by a written narrative or schedule of work.

The restoration plan proposes to minimize the number of stream and wetland crossings.  The proposal has one common drive (opposed to the two previously proposed); reducing wetlands alterations by 1000 square feet.  The crossings themselves will consist of three sided bottomless culverts.  All work is beginning in the upland, with the restoration of the land to its natural elevations.  EBT will be smoothing out the ruts and removing the remaining stump piles within the next several weeks.  The current dry conditions provide an ideal time to complete the restoration work.  The channels present on the property and neighboring properties currently have no flow.  BCC approved the restoration plan provided by EBT and the beginning of site restoration.

BCC notified EBT and Mr. Cayer that the proposed restoration plan and future NOI must be compatible.  EBT will send BCC the photos they presented at tonight’s meeting and of the work as it progresses.  They will also send a written schedule of the phases of work to be completed on the restoration plans.  Commissioners and the assistant have the right to inspect the sight at their convince.  A brief discussion occurred over the lack of a written narrative to accompany the site plan.  As stated in the EO, a narrative was required.  Angela will contact EBT about a narrative, and see if they can send it along with a schedule.

9:23 PM Sign Payroll

Motion made by Matt Toth to sign payable voucher for Angela Panaccione in the amount of $582.75 for 37 hours.  $315.00 from account 01-0171-5114 and $267.75 from account 14-0171-4382 for the pay period of 7/15/2012 to 7/28/2012.

Motion seconded by Steve Phifer

No further discussion – vote taken – 3 yes 0 no 0 abstain

Motion Carries

9:25 PM Sign Payable Voucher: Quill $10.99

Motion made by Matt Toth to sign the payable voucher in the amount of $10.99 for a VGA cord for the projector.

Motion seconded by Steve Phifer

No further discussion – vote taken – 3 yes 0 no 0 abstain

Motion Carries

9:27 PM Administrative Discussion: Agent Appointment

This discussion is a continuation of previous discussions on making Angela Panaccione an Agent/Administrator for the BCC.  Currently there is no description of the job duties and responsibilities for Angela Panaccione.  A discussion occurred on what the job is, what Angela has made it and what BCC would want to see it become; given that it is only part time.  Angela supplied the BCC with the MACC model job description for staff, including the duties and responsibilities for and Agent and Administrator.  Angela already performs several of the functions an Administrator would perform.  Matt Toth reviewed the information supplied by MACC and drafted a job description to the commission for discussion.  The description is divided into 5 sections as follows: General Definition, Position Environment, Duties and Responsibilities, Recommended Minimum Qualifications, Essential Functions.

Angela will put it on the Agenda for the meeting on Tuesday August 14, 2012 and a vote will occur to accept the job description and to make Angela the Agent/Administrator for the BCC.

BCC has also began incorporating the condition of “With respect to all conditions, the Conservation Commission designates the Conservation Administrator, or Assistant, as consultant to the Commission, as its agent with full powers to act on its behalf in administering and enforcing this Order” into the OOC issued.

Meeting adjourned 9:34 PM – Declared by Chair Ian Lynch

Sincerely Submitted

Angela Panaccione, BCC Assist.