TOWN OF BRIMFIELD

CONSERVATION COMMISSION

COMMONWEALTH OF MASSACHUSETTS 01010

Salisbury Annex Bld.

23 Main Street

Brimfield, MA 01010

Office: 413-245-4100 ext. 8

FAX: 413-245-4111

BRIMFIELD CONSERVATION COMMISSION

MEETING TUESDAY 8/28/2012 @ 7:00 PM

Members Present: Ian Lynch, Matt Toth, Joe Ressigue, Roger deBruyn, Steve Phifer, Joe Collins

Meeting Opens: 7:00 PM – Ian Lynch

7:00 PM Violation: DEP # 117-0274 Dolan Corp/Christopher Ferris – Lot 3Brookfield Rd

Three different complaints were received from abutters and the DEP in regards to this property and the callers were concerned about the resource areas and BVW.  The owner of record (Dolan Corporation) had recently sold the property on August 10 to a Christopher Ferris.  The NOI called for 3,626 sq. ft. of BVW alter and mitigated by 3,740 sq. ft. of BVW replacement.  Mark Farrell of Green Hill Engineering was the consultant. The OOC is still valid, based on the latest Permit Extension Act, valid until 10/06/13.

Angela Panaccione issued a Notice of Possible Unpermitted Work In/Near Wetlands on Thursday August 23, 2012 and instructed Mr. Ferris to cease and desist all work and attend the next BCC meeting tonight.  A copy of the OOC was supplied to Mr. Ferris highlighting the conditions Mr. Ferris was in violation of.  Three violations were identified:

- No DEP # posted at site

- Faulty and inadequate erosion controls

- Equipment parked and stored in the wetland/BVW

Mr. Ferris has addressed the three violations and requested a site visit to inspect the property.  Roger DeBruyn and Joe Collins accompanied Mr. Ferris to the site to see if he was in compliance with the OOC.  All violations were in compliance.  Mr. Ferris was informed he must first replicate all wetlands before building may begin.

Jerry Morin attended as an abutter.

Mr. Ferris expressed interest in amending the OOC and will contact BCC if he decides to.  He did contact Angela on Wednesday 8/29/2012 and stated he would stick with the original plans.

7:30 PM Sign Payroll

Motion made by Matt Toth to sign payable voucher for Angela Panaccione in the amount of $472.50 for 30 hours.  $315.00 from account 01-0171-5114 and $157.50 from account 14-0171-4382 for the pay period of 8/26/2012 to 9/8/2012.

Motion seconded by Steve Phifer

No further discussion – vote taken – 6yes 0 no 0 abstain

Motion Carries

7:35 PM Follow Up: JT Heating Oil – Erosion Control Instillation

Angela conducted a site visit on Wednesday 8/15/2012 at 9am.  The siltation fence and hay bales were in place and looked great.  When the SPCC is filed and approved they will send us a copy.

8:23 PM NOI: DEP # 117-0322 Alan & Molly Harwood Home Construction – 46 First Street

Mr. and Ms. Harwood attended tonight’s meeting with representative Mark Farrell, of Green Hill Engineering, to propose a plan for re-building their cottage at 46 First Street.

The Applicant proposes to remove the existing 3-seasons cottage and replace it with a new winterized all-season 4 bedroom house.  The new house will have additions of 14 feet to the back (west) side and 5 feet to the northern side of the house along with an additional 10 feet of deck to the north side and the rear.  The applicant will be maintaining the current location of the front (east) face and southern corner of the dwelling.  The excavation for the new foundation will be minimal and the current house has a walk out basement in the front that will be retained.  The entire house replacement is within the 100’ buffer zone.  Little Alum Pond is located along the eastern property line and the proposed cottage will be 34’ from Little Alum Pond.

The proposed project also includes a septic system replacement including the pumping and filling of the existing cesspools and the installation of a new 1500 gallon 2-compartment septic tank w/ effluent filter and a 35’ long x 24’ wide x 1’ deep leaching chamber bed.  The proposed septic system will be approximately 58 feet from the edge of the pond.  The proposed leaching field will be approximately 288 feet from the edge of the pond, therefore located out of our jurisdiction.

A siltation fence is proposed approximately 10 feet from the edge of Little Alum to serve as a limit of work and to protect the resource area from sedimentation during the construction phase.  The siltation fence shall be maintained until the disturbed area is stabilized and revegetated.  A special condition will be included for the replacement and repair of the front steps to the water to ensure erosion controls are placed below and around the steps prior to and during construction.  Angela will review past NOI’s from Sherman Lake addressing similar wall/step replacements to the water to develop appropriate conditions.  The applicants will also retain as many trees as possible on the site.

As of now we have received BOH approval for the septic tank and NHESP determination for the project.  Currently we are waiting on ZBA approval of the plans and the building permits.

A site visit was scheduled for 9 AM Saturday August 11, 2012 to locate the building and septic system in relation to wetlands and the pond, verify the delineations and determine if other resource areas are present.  The applicant and representative staked the property before hand to show the new corners of the house, deck, septic tank, pump chamber and leach field.  As the plans exist currently, we would approve them but are continuing the hearing until ZBA gives their approval.

Motion made by Steve Phifer at 8:29 PM to continue the hearing until 7:30 PM on Tuesday September 25, 2012

Motion seconded by Matt Toth

No further discussion – vote taken – 6 yes 0 no 0 abstain

Motion Carries

Angela will send a letter to ZBA stating that BCC approves the plans as proposed, but is continuing the hearing until ZBA approval.

8:23 PM Violation: Richard Cayer 59/61 Haynes Hill Road

BCC notified EBT and Mr. Cayer that the proposed restoration plan and future NOI must be compatible.  EBT will send BCC the photos they presented at tonight’s meeting and of the work as it progresses.  They will also send a written schedule of the phases of work to be completed on the restoration plans.  Commissioners and the assistant have the right to inspect the sight at their convince.  A brief discussion occurred over the lack of a written narrative to accompany the site plan.

As of tonight we have only received the photos, no narrative or schedule.  Angela will contact EBT to request both a schedule of work and a narrative by the next meeting.   8/30/2012 was the deadline for woek and recent drive by of the property shows restoration is not complete.

9:09 PM Violation: Dave Mayo   10 Shaw Road

Dave Mayo, of 10 Shaw Rd, constructed a path through a significant amount of wetlands bordering Little Alum pond, crossed and filled at least three streams and removed sand from the lake in order to build and gain access for a boat ramp/launch into the lake.  The area appears to have over 1,000 square feet of wetland alterations that need to be addressed and restored.  Mr. Mayo was informed to stop work immediately and file an NOI. An Enforcement Order was issued to Mr. Mayo on June 12, 2012 after several months of non-compliance.  The EO was to immediately cease and desist from any further activity and file a NOI in complete compliance with the WPA and its regulations and submit it to BCC no later than Wednesday, July 11, 2012.  This NOI should evaluate the options Mr. Mayo has for constructing a path for river access and a potential dock on the lake.  Failure to submit a completed NOI will require full restoration of the site.

BCC is requesting a restoration plan addressing the alterations and proposes wetland replication on a 1:1 scale.  The fill still in place needs to be fully removed as soon as possible, not just hid from plain site.  A deadline of Wednesday July 11, 2012 was set for the NOI to be received and currently Mr. Mayo is not in compliance with the request.  The area is better than it was but it is not restored to its natural state. There is still fill in the wetlands and the grades do not match. We will need evidence of soil samples and a restoration plan in writing. Any work without a plan is technically not valid. Even though Mr. Mayo wish to do nothing at the site does not mean he can do nothing in regards to the enforcement order issued June 12, 2012.   Mr. Mayo is required to submit a restoration plane to BCC by Tuesday September 11, 2012 or further action will be taken.

Mark Farrell, representative to Mr. Mayo, was made aware of the current violation to the Enforcement Order and informed the commission that Mr. Mayo is not intending to develop the area further and therefore was no longer going to file an NOI.  Angela informed Mark that a requirement of the EO was to file an NOI or complete restoration would be required.  Given Mr. Mayo doesn’t want to develop the land any further, complete restoration will now be required.  Mark will contact Mr. Mayo about the restoration plan and will inform BBC on the progress.  If Mr. Mayo does not take action an additional EO should be issued and the DEP contacted for further assistance.

9:21 PM Administrative Discussion: Job Description and Administrator Appointment

This discussion is a continuation of previous discussions on making Angela Panaccione an Agent/Administrator for the BCC.  Currently there is no description of the job duties and responsibilities for Angela Panaccione.  A discussion occurred on what the job is, what Angela has made it and what BCC would want to see it become; given that it is only part time.  Angela supplied the BCC with the MACC model job description for staff, including the duties and responsibilities for and Agent and Administrator.  Angela already performs several of the functions an Administrator would perform.  Matt Toth reviewed the information supplied by MACC and drafted a job description to the commission for discussion.  The description is divided into 5 sections as follows: General Definition, Position Environment, Duties and Responsibilities, Recommended Minimum Qualifications, Essential Functions.

BCC has also began incorporating the condition of “With respect to all conditions, the Conservation Commission designates the Conservation Administrator, or Assistant, as consultant to the Commission, as its agent with full powers to act on its behalf in administering and enforcing this Order” into the OOC issued

Motion made by Matt Toth at 9:39 PM to accept the Conservation Administrator Job Description

Motion seconded by Joe Collins

No further discussion – vote taken – 6 yes 0 no 0 abstain

Motion Carries

Motion made by Matt Toth at 9:40 PM to appoint Angela Panaccione to the position of Conservation Administrator

Motion seconded by Roger deBruyn

No further discussion – vote taken – 6 yes 0 no 0 abstain

Motion Carries

Meeting adjourned 9:40 PM – Declared by Chair Ian Lynch

Sincerely Submitted

Angela Panaccione, BCC Assist.