The Meeting of the Town of East Hampton Water Pollution Control Authority was held at the Colchester - East Hampton Waste Water Treatment Plant Meeting Room on Tuesday, June 5, 2018 at 6:00 P.M.

Present: Mark Barmasse, Kerry Comisky, Mike Filanda and Peter Villa

Not Present: David Hitchcock, John Suprono and Dave Terry

Other Attendee(s) Tim Smith, Public Utilities Administrator

- Call to Order

Chairman Barmasse called the meeting to order at 6:10 p.m.

- Approval of Minutes

  - Regular Meeting of May 1, 2018

Mr. Villa made a motion to approve minutes, seconded by Mr. Filanda.  Vote 4-0, Motion Passed.

- Public Remarks

None

- Review of Correspondence

A. Legislative wrap up memo

Mr. Smith reported on the CWWA legislative wrap up.  Sections of two items in particular may impact the WPCA. 1.) HB-5163 (approved, waiting signature) which will require small community water systems to submit a fiscal & asset management plan of their capital assets to the DPH and begin that plan by assessing the hydro pneumatic pressures tanks as its initial priority.

2.) HB-5130 (approved) required sewage spill notification procedures for the DEEP and public and the expanding of continuing education for wastewater treatment operators to at least 6 hours annually.

B. PURA exemption form

Mr. Smith filed the exemption form with PURA on the “Plans for restoration of service that is interrupted as a result of an emergency “. An emergency plan for PURA is not required for municipalities, however an emergency plan is included in the Colchester-East Hampton facility plan.

- Committee Reports

  - Joint Facilities Committee

Mr. Barmasse reported on the May 1st JF meeting. Including but not limited to the septage revenue increase due to the high volume of haulers, review of the IMA agreement to determine the requirement for a quorum and the Executive session to discuss the potential property purchase. Mr. Smith also added that the Mission systems have been ordered for all of the remaining lift stations and a check (approx. 50% reimbursement) was received for Chestnut Hill insurance claim.  Copies distributed and made part of these minutes.

B. Operations, Management & Budget

1) Budget Status FY 2017/18

Mr. Smith reported that there were no unexpected expenditures for the month of May. Revenue collection is in line to date with the exception of water revenue which commonly runs a month behind. Copies distributed and made part of these minutes.

C. Public Water Systems

1) Village Center Water System Operations

The Daily operations log indicates 5.3% unaccountable. System is running fine.

2) Royal Oaks Water System Operations

A small leak discovered near the pump station. No excavation is scheduled but leak will continue to be monitored.

3) Hampton Woods Water System

No changes have been made that are affecting the WPCA at this time, the water system is    still l being run by an outside company.

Recess Meeting to Conduct Public Hearing

Meeting was recessed at 6:32pm in order to conduct the Public Hearing.

Public Hearing Notice is attached and made part of these minutes.

4) Municipal Water System Update

Mr. Smith will be attending the June 12th Town Council meeting to address the second and   final approval of the 2018/19 Public Water System Operating Budget & Water Rate recommendations

Mr. Smith and Mr. Maniscalco recently met with MDC about a potential interconnection via Portland and with the possibility of a 50% grant from the DPH. It will be recommended to the Council to hold off any decision on a water connection until after hearing back from MDC.

D. Sewer Development

1) Hampton Woods Sewer System

WPCA has official taken ownership of the lift station. A letter of acceptance was sent to Hampton Woods. They still have 12 months of any issues that they would have to warranty.

2) Portland Sewer Commission

No changes at this time.

Mrs. Comisky made a motion to move item 7, “Approve the 2017 CCR for submittal” to item 6 until the public hearing is closed, Second by Mr. Filanda. Unanimously approved

6. New Business, Discussion/Action

A.  Approve the 2017 CCR for submittal

Mrs. Comisky made a motion to approve the Consumer Confidence Report (CCR) as written, second by Mr. Filanda. Vote 4-0 Motion Passed

The meeting resumed at 6:44pm in order to complete the Regular Meeting.

7. Old Business, Discussion/Action

A. Water Budget FY 18/19 approval

Mr. Smith presented the revised version of the proposed 2018/19 Water Budget for a final review and vote.

Resolution: Management recommends the Water rate for FY 18/19 is $40 / Meter fee and $9.25 / 1000 gals. Commodity charge. This is no change from the current rates. All rates are to be effective July 1, 2018. Filanda made a motion to adopt 2018/19 Water rates. Seconded by Mrs. Comisky. Vote: 4-0. Motion Passed.

Resolution: Management recommends the annual DPH Safe Drinking Water Fee (PA17-2 effective October 2017) of $2.57 (per customer) and will be added to the 1st billing in July.  Mr. Filanda made a motion to above the DPH safe drink water fee of $2.57. Seconded by Mr. Villa. Vote: 4-0. Motion Passed.

8. Adjournment

Mr. Filanda made a motion to adjourn that was seconded by Mrs. Comisky and approved.  Vote: 4-0;

The meeting was adjourned at 7:13 p.m.

Respectfully submitted,

Linda B Connors

Recording Secretary

Minutes approved by a vote (3-0, 2 abstained) of the East Hampton Water Pollution Control Authority on August 7th, 2018.