BOARD OF SELECTMEN

MEETING MINUTES

March 19, 2009

PRESENT:	RICHARD H. HARTUNG, CHAIRMAN; PRISCILLA R. LINDQUIST, SELECTMAN; JAMES L. STEWART, SELECTMAN; SALLY THERIAULT, ADMINISTRATIVE ASSISTANT

Chairman Hartung called the meeting to order at 1:03 p.m.

Present at the meeting: Fire Chief Michael Carrier

There was a lengthy discussion concerning the fire protection water contract with Hampstead Area Water Company. Several questions and concerns arose:

Is the 100,000 limit per incident or per year? Chief Carrier suggested changing the wording to add “per incident” or “water necessary to mitigate incidents in town”.

The contract doesn’t state anything about maintenance of the hydrants or flow testing. HAWC at the very least should be conducting the flow testing.

There was a question concerning the diameter of the existing waterlines. If HAWC installs a water line that is less than adequate to service a hydrant, the cost of the upgrade to the line will be the responsibility of those directly receiving water protection through the installation of a hydrant. HAWC will have to confirm the size of the water lines through the Town. Chief Carrier will get an updated map from the water company

Chief Carrier expressed concerns about having Town employees shoveling out the hydrants, which are owned by a private entity.

- Chief Carrier will have a discussion with the water company, that the company should be shoveling out the hydrants, or

- Try to negotiate a lower maintenance rate if the Town employees continue to shovel the snow,

- Lastly, to consider adopt-a-hydrant.

Sally Theriault will check with the Public Utility Commission concerning maintenance costs that are allowed to be charged for the hydrants.

Chief Carrier will check to see if ISO will come in and re-evaluate the Town, to work towards getting a better rating.

A copy of the agreement should also be given to the Planning Board so that they are aware the specifics contained in the contract.

Chairman Hartung expressed his concern about the availability of water during an emergency. One option would be to have the fire truck operate as a distribution pump. Questions arose concerning contamination of drinking water by using a truck in this capacity. A plan concerning generators should be in place.

Other matters were also discussed, a part-time fire inspector was discussed. This will be placed on a future agenda.

Fire Chief Carrier left the meeting.

The Selectmen discussed the re-organization of the Board and which committees and boards they will be liaison for. This will be brought up at the next meeting.

Selectman Hartung adjourned the meeting at 2:58 pm.

A True Record.						Approved By:

Sally Theriault, Administrative Assistant		Richard H. Hartung, Chairman

Priscilla R. Lindquist, Selectman

James L. Stewart, Selectman