9-6-12

The following information was gathered during the walk through of the Fire Department.  The information gathered is based on JLMC inspection forms.  I have four areas health, safety, immediate needs (two years) and future planning:

Health:

Safety:

- High step to apparatus bay

- Poor lighting in apparatus bay

- Lack of draining under apparatus causes ice dams and can effect the operation of the doors

- Falling snow and ice off the roof may cause damage to cars parked

- Need No Smoking Signs

- Excessive storage in loft area, office area, and upstairs in addition

- Mechanical room has excessive storage

- Electrical panels need to have area in front clear

Immediate needs (2 years)

- Need new front door

- Frost getting under apron outside garage doors

- Fire house not ADA compliant but addition is

- Kitchen stove cannot be used until hood is installed

# Future needs

- Fascia not raped in vinyl when roof was done

- General painting outside

- Convert kitchen into office space

- Replace wood in building with vinyl on back side

- Septic age is unknown.  There is a plan approved but approval expired in 2009

- Update mechanical room