9-6-12

The following information was gathered during the walk through of the Highway.    It will be broken up in four areas.  The information gathered is based on JLMC inspection forms.  I have four areas health, safety, immediate needs (two years) and future planning:

Health:

- Inadequate sanitary facilities

- Addition no smoking signs are needed

- Electrical Panel need to have proper open space in front and side

- Fire extinguishers not clearly marked or blocked

- Need proper storage of fluids

- Need additional exit signs and all exits need to have clear path

Safety:

- There is no body wash on site

- Exposed insulation with paper

- There is currently not training in place for employees regarding the proper use of fire extinguishers and fire protection procedures

- There is not adequate illumination

- There are no training programs place for safe methods of machine operations

- No regular program inspections to assure the safe operation of machinery and equipment

- Overall lack of storage.

Immediate needs (2 years)

- Relocate furnace that is in the middle of the room

- Roof leaks in garage

# Future needs

- Addition as there are several pieces of equipment stored outside