9-6-12

The following information was gathered during the walk through of the Police Department.  The information gathered is based on JLMC inspection forms.  I have four areas health, safety, immediate needs (two years) and future planning:

Health:

Safety:

- Kitchen area is over crowded

- Lack of storage

- Area in front and side of electrical panel need to be clear.

- Not all exits are marked

- Add smoke detector in garage

- Add CO detector

Immediate needs (2 years)

# Future needs

- General painting outside