9-6-12

The following information was gathered during the walk through of the town hall.  It will be broken up in four areas.  The four areas are health, safety, immediate needs (two years) and future planning:

Health:

- Re-pointing of foundation

- Ventilation is needed on basement

- Basement windows need to be replaced

- Repair rot on outside of building

Safety:

- Chimney to be cleaned and re-pointed

- Electrical wiring need to be evaluated and brought up to code

- Replacement windows needed as current windows do not all lock and are extremely un-energy efficient

- Back hall lighting poor

- Missing electrical cover in second floor hall

- Not all emergency lights and exit signs working

- Fire extinguishers need to be clearly marked

- Add CO detector

Immediate needs (2 years)

- Replace front door

- Add door between front door that leads to the main areas

- Repair and paint building and trim

- ADA bathrooms will soon be required

# Future needs

- Total renovation of second floor

- Paint total building interior and exterior

- Vault entrance should be insulated and dry walled