9-6-12

The following information was gathered during the walk through of the Transfer Station.    It will be broken up in four areas.  The information gathered is based on JLMC inspection forms.  I have four areas health, safety, immediate needs (two years) and future planning:

Health:

- Inadequate sanitary facilities

- All electrical panels need to have proper open space in front and side

- Fire extinguishers not clearly marked or blocked

- Need proper storage of fluids

- Need additional exit signs and all exits need to have clear path

- Out of compliance with State Regulations based on the amount of Waste Oil stored

- Need additional Exit sigs

- Missing smoke detectors in several locations

- Exposed unboxed wiring

Safety:

- There is no body wash on site

- Exposed insulation with paper

- There is currently not training in place for employees regarding the proper use of fire extinguishers and fire protection procedures

- There is not adequate illumination

- There are no training programs place for safe methods of machine operations

- Overall lack of storage.

Immediate needs (2 years)

- Roof leaks in garage

# Future needs