Meeting Minutes

Facilities Study Committee

Wednesday September 30, 2015

In attendance:  Phil Mighdoll, Chris Conway, Lisa Drexhage, Beth Mellor, Sue Shanahan, Nina Nazarian

- Review and approve minutes of last meeting

  - Minutes unanimously approved with minor corrections/clarification

- Brief updates:

  - Fire/Security Alarms (conversation with David Oles)

    - Report by Phil of discussion w D Oles.  D.Oles stated that what he quoted was designed to meet code.  If “out of code” bare bones system is decided, please do not consider that a recommendation from him.

    - D.Oles recommends using plans for other buildings, defer Princeton Center if needed based on cost at this time.

    - Other buildings a couple thousand each, would be worth investment.  Bagg hall – a bit more

    - Chris: Nat’l Elec Code he believes states that systems must be hard-wired to meet code.

      - Is wireless now an acceptable option? If not then costs may be higher.

    - Nina:  recommend put out bid for request for qualifications for fire system and see what comes back.  Focus on other buildings, but include Princeton Center in request for bids.

      - A lot of other projects on plate (roof, chimney/flue, walkways, masonry etc.)  – some of these will likely be deferred to further year including the fire alarms upgrades.

      - This committee has done research and provided the information, but now in hands of TA/Selectboard

    - Were we OK prior to the dispatch transfer?  Is there funding left in  the fund used for regionalization  to add the overlooked piece (callout/annunciator).

  - Bagg Hall roof repairs (status)

    - J.Skypeck has sent over scope of work and specs to Nina.  Phil, Steve, Chris are reviewing for feedback.

      - Base bid (East side) and alternate bids (turret,  north, west, south, wind/rainproof louvers, high temp ice/water shield on East side are being addressed, so work can be managed from a financial standpoint.

      - Bids scheduled to be avail 10/7, bid opening 10/22. BOS mtg planned for 10/23 to award and sign contract.

  - Heating systems maintenance contract & Bagg Hall chimney/cap (status)

    - Steve provided info to Nina, details finalized from Phil.  Nina looking to delegate writing of this contract/bid due to office priorities.  Phil Mighdoll has volunteered to assist.

  - Bagg Hall masonry repairs – on hold until next year?

    - Likely project deferred to next year based on funding.  Chris still recommends doing chimney to roofline.  He conferred w/ R.James Restoration – who agreed.  Deferred work will be an issue in protecting roof from damage later.

    - Flue – Chris is following up with his mechanical contact.  Chris will come up to Bagg Hall and take photos for discussion.

    - Will this end up falling under maintenance/heating contract?  If so, will likely be deferred to future work.

- Review BOS charter – accomplishments, open issues, implications for      next steps

  - Charter review

    - Items 1-2 are complete per committee’s work

    - Item 3 – will be addressed as part of the subsequent items.

  - Princeton Center – heat tape should be revisited – get a couple contractors to do proposal.

- Space needs and scenarios

  - General brainstorming discussion on options for different scenarios of how to use/shuffle the buildings and functions.

  - Draft planning chart for discussion has been provided for member review and input.

  - Fire station – note – is there response time constraints for location?

  - Is there town property behind Dingman park?

  - Smith farm viability?

  - Committee requested to review spreadsheet/brainstorm/feedback

- Adjourn  8:46pm