- Board of Commissioners Meeting

December 10, 2009

- Sunapee Slow Sand Filter Plant

PRESENT: Theodore Gallup – Chairman, Charles Smith, Christopher Leonard, David Montambeault, Kurt Markarian, Paul Manson.

ABSENT:  David Cain.

- Also present: Holly Leonard, David Bailey, Jessie Levine, Mark Kaplan, Larry Ballin, Richard Lee, Neil Cheseldine.

- The Chairman called the meeting to order at 5:41 p.m.

- 1.	New London/Sunapee Joint Quarterly Meeting: See joint meeting minutes.

- 2.	Forms for Signing:

- November 19, 2009 Meeting Minutes: Kurt M. made a motion to accept the meeting minutes as printed, seconded by Paul M., voted unanimously in favor, so declared by the Chairman.

- November 2009 Sewer Purchase Journal:  Kurt M. made a motion to accept the sewer purchase journal as printed, seconded by Christopher L., voted unanimously in favor, so declared by the Chairman.

- November 2009 Water Purchase Journal: Kurt M. made a motion to accept the water purchase journal as presented, seconded by Charles S., voted unanimously in favor, so declared by the Chairman.

- SCS 11 Abatement Request: David M. made a motion to approve the abatement, seconded by Kurt M., after some discussion regarding the meter issue, voted unanimously in favor, so declared by the Chairman.

- HRR 63 Abatement Request:  David M. made a motion to grant the abatement, seconded by Christopher L., after some discussion regarding the property, voted unanimously in favor, so declared by the Chairman.

- PHR  Abatement Request:  Charles S. made a motion to accept the abatement, seconded by Kurt M., after some discussion, voted unanimously in favor, so declared by the Chairman.

- Water Treatment Highlights: Dave B. reported that the turbine is still running. There was some discussion regarding when it would be shut off.

- Dave B. reported that the oil barrel at River Road is all pumped out and waiting to be removed.

- Dave B. reported that there had been a water leak on Lower Main Street and that the line has been a perpetual problem. He stated that he wants to replace the line come spring.

- Old & New Business:

- Dave B. reported that there is a homeowner on Oak Ridge Road that thinks the issue with his sewer pump is the Town’s problem. Neil C. stated that he has looked into the problem and thinks that the owner just needs a displacement type pump. Neil C. would suggest that the Commission change the specifications for pump systems in town to all use this type of pump. There was some discussion regarding the specifications that are on file in the Water & Sewer office.

- Christopher L. questioned if there were any pictures of the intake pipe to be reviewed yet. Theodore G. stated that Paul M. had inspected the pipe but that they needed a waterproof digital camera or video camera. There was some discussion regarding what type of pipe it is.

8:09 p.m. Christopher L. made a motion to adjourn, seconded by Kurt M., voted unanimously in the affirmative, so declared by the Chairman.

- Submitted by Holly Leonard.

- Approved by the Water & Sewer Commission this ______ day of __________________, 2010.

_________________________________		__________________________________

Theodore Gallup – Chairman				David Montambeault – Vice Chair

_________________________________		__________________________________

Christopher Leonard					Charles Smith

_________________________________		__________________________________

Kurt Markarian 					David Cain

_________________________________

Paul Manson