## WWMDC Assessment 2016
Wayland Town Center Data and Capacity based on Title V Allocations
| Updated 2/25/2016 |  |  | Billing adjustments are on the bottom |  | DRAFT |  |  |  | DRAFT |  |  | DRAFT
| Building | Irrigation Meter? | Physical Address & Space | Wastewater Bill Address | Parcel ID # | Water Acct# | WW Acct# | Meter # & Installation | Sq. Ft. | Title V-Establishment Type & Criteria | Title V GPD Units | # of Dr's, Chairs, Seats | WWMDC Capacity GPD | KGI Capacity 8/9/13 | Wayland BOH/Bldg Dpt's Permit #'s 7/14/15 | WWMDC BOH/Bldg Dpt's Variance | Differences WW vs Bld Dept. | Values on 27Jan2016 | Comments
Master Meters to Be Read (one meter for the whole building)
1) | 5A | No | 101 Andrew Ave | The Stop & Shop Supermarket Company | 023-052 | 2601828 | 2701070 | 7175094 | 45000 | Supermarket: | 97 | 1000 | 4365 | 4365 | 4365 | 0
|  |  | space 10 | P.O. Box 1660 |  |  |  | 2012-10-03 |  | 97 gpd per 1000 sqft
Buffalo, NY 14205
2) | 1C | No | 71 - 87 Andrew Ave | BOS Retail 1, LLC - Bldg 1C | 023-052 | 2601788 | 2701072 | 71644149
|  |  |  | c/o National Development |  |  |  | 2013-02-25
2310 Washington St.
Newton Lower Falls, MA 02467
|  |  | 87 Andrew (space 10) | Sperry Liquors |  |  |  |  | 2000 | Retail: 50 gpd per 1,000 sqft | 50 | 1000 | 100 | 100 | 100 | 0
|  |  | 81 Andrew (space 20) | Antons |  |  |  |  | 900 | Retail: 50 gpd per 1,000 sqft | 50 | 1000 | 45 | 45 | 45 | 0
|  |  | 79 Andrew (space 30) | Super Cuts |  |  |  |  | 1250 | Beauty Salon: 100 gpd per chair | 100 | 7 | 700 | 700 | 700 | 0
|  |  | 75 Andrew (space 40) | GNC |  |  |  |  | 1140 | Retail: 50 gpd per 1,000 sqft | 50 | 1000 | 57 | 57 | 57 | 0
|  |  | 73 Andrew (sp. 50/60) | Vacant |  |  |  |  | 2264 | Retail: 50 gpd per 1,000 sqft | 50 | 1000 | 113.2 | 114 | 113 | 0.2
|  |  | 71 Andrew (space 70) | Femiluxe (Nails) |  |  |  |  | 1291 | Retail: 50 gpd per 1,000 sqft | 50 | 1000 | 64.55 | 64 | 65 | -0.45 | Category? Beauty Salon: 100 gpd per chair
|  |  | space 80 | Mechanical Room |  |  |  |  | 155 | [7 empty] | 8 pedicure chairs. BOH & DEP decision?
[9 empty] | 9000 | Total Capacity gpd Bldg 1C |  |  | 1079.75 | 1080 | 1080 | -0.25
3) | 2C | Yes | 57 - 65 Andrew Ave | BOS Retail 1, LLC - Bldg 2C | 023-052 | 2601769 | 2701073 | 71849373
|  |  |  | c/o National Development |  |  |  | 2013-02-25
2310 Washington St.
Newton Lower Falls, MA 02467
|  |  | 65 Andrew (space 10) | Almaari Jewelry |  |  |  |  | 2000 | Retail: 50 gpd per 1,000 sqft | 50 | 1000 | 100 | 100 | 100 | 0
|  |  | 63 Andrew (space 20) | Subway |  |  |  |  | 1200 | Restr., fast food 20 gpd per seat | 20 | 24 | 480 | 600 | 480 | 0 | BOH/Bld Dept agree to 480 gpd/24 seats
|  |  | 61 Andrew (space 30) | Orange Leaf |  |  |  |  | 1620 | Restr., fast food 20 gpd per seat | 20 | 16 | 320 | 320 | 320 | 0
|  |  | 57 Andrew (sp. 40/50) | Sleepys |  |  |  |  | 4025 | Retail: 50 gpd per 1,000 sqft | 50 | 1000 | 201.25 | 202 | 201 | 0.25
|  |  | space 60 | Mechanical Room |  |  |  |  | 155
[9 empty] | 9000 | Total Capacity gpd Bldg 2C |  |  | 1101.25 | 1222 | 1101 | 0.25
|  | Yes |  | Deduction Irrigation Meter (Deduct irrigation |  | 2601769 |  | 74713566 |  | Changes based on use
meter gpd from Account #2701073)
4) | 2D | No | 15 - 21 Elissa Ave | BOS Retail 1, LLC - Bldg 2D | 023-052 | 2601762 | 2701074 | 71849367
|  |  |  | c/o National Development |  |  |  | 2013-02-25
2310 Washington St.
Newton Lower Falls, MA 02467
|  |  | space 10 | Takara |  |  |  |  | 2000 | Restr., 35 gpd per seat | 35 | 60 | 2100 | 2100 | 2100 | 0
|  |  | space 20/50 | Vacant (formerly Petco) |  |  |  |  | 3675 | Retail: 50 gpd per 1,000 sqft | 50 | 1000 | 183.75 | 184 | 184 | -0.25
|  |  | space 30 | TC Orthodontics |  |  |  |  | 2995 | Dentist: 200 gpd per Dentist | 200 | 1 | 200 | 500 | 200 | 0
|  |  | space 40 | Mechanical Room |  |  |  |  | 150
[9 empty] | 8820 | Total Capacity gpd Bldg 2D |  |  | 2483.75 | 2784 | 2484 | -0.25
5) | 2E | Yes | 14-20 Elissa Ave | BOS Retail 1, LLC - Bldg 2E | 023-052 | 2601752 | 2701071 | 71444236
|  |  |  | c/o National Development |  |  |  | 2012-11-05
2310 Washington St.
Newton Lower Falls, MA 02467
|  |  | space 10 | Bertuccis (20 patio seats/no bar) |  |  |  |  | 3250 | Restr. 35 gpd per seat | 35 | 120 | 4200 | 3850 | 4200 | 0 | BOH/Bld Dpt agree to 4,200 gpd/120 seats
|  |  | space 20 | Vacant |  |  |  |  | 1160 | Retail: 50 gpd per 1,000 sqft | 50 | 1000 | 58 | 58 | 58 | 0
|  |  | space 40 | Mechanical Room |  |  |  |  | 150
[9 empty] | 4560 | Total Capacity gpd Bldg 2E |  |  | 4258 | 3908 | 4258 | 0
|  | Yes |  | Deduction Irrigation Meter (Deduct irrigation |  | 2601752 |  |  |  | Changes based on use
meter gpd from Account #2701071)
6) | 2F | No | 25 - 42 Andrew Ave | BOS Retail 1, LLC - Bldg 2F | 023-052 | 2601712 | 2701075 | 71849368
|  |  |  | c/o National Development |  |  |  | 2013-02-25
2310 Washington St.
Newton Lower Falls, MA 02467
First Floor
|  |  | 25 Andrew (space 10) | Lauren Craig (Occupancy 36) |  |  |  |  | 1866 | Beauty Salon: 100 gpd per chair | 100 | 6 | 600 | 800 | 600 | 0 | BOH 6 chairs. Checking on 3 Color Chairs.
|  |  | 29 Andrew (space 20) | Elements (no client water use-15 Clients/day) |  |  |  |  | 2065 | Retail: 50 gpd per 1,000 sqft | 50 | 1000 | 103.25 | 103 | 103 | 0.25
|  |  | 31 Andrew (space 30) | Jos. A Bank |  |  |  |  | 4500 | Retail: 50 gpd per 1,000 sqft | 50 | 1000 | 225 | 272 | 225 | 0
|  |  | 35 Andrew (space 40) | Prop. AT&T |  |  |  |  | 1858 | Retail: 50 gpd per 1,000 sqft | 50 | 1000 | 92.9 | 111 | 93 | -0.1
|  |  | space 50 | Vacant |  |  |  |  | 4000 | Retail: 50 gpd per 1,000 sqft | 50 | 1000 | 200 | 163 | 200 | 0
|  |  | space 60 | Vacant |  |  |  |  | 2688 | Retail: 50 gpd per 1,000 sqft | 50 | 1000 | 134.4 | 117 | 134 | 0.4
Stair/Mech Storage/Elev & Machine/
|  |  |  | Sprinkler Rm/Egress Corridor |  |  |  |  | 796
|  |  |  | First Floor Total |  |  |  |  | 17773 | 1st Floor Capacity gpd |  |  | 1355.55 | 1566 | 1355 | 0.55 | Rounding
| 2F | No | 25 - 42 Andrew Ave | Second Floor | [5 empty] | Family Dwelling Multiple:
|  |  |  | Apartments: #201-#212 (1 Bedroom each) |  |  |  |  | 13200 | 110 gpd per bedroom
|  |  |  | LL Storage/Stair 2/Elev & Machine/ |  |  |  |  | 3442 | 2nd Floor Capacity GPD | 110 | 12 | 1320 | 1320 | 1320 | 0
Corridor & Stair
[9 empty] | 34415 | Total Capacity gpd 1st & 2nd |  |  | 2675.55 | 2886 | 2675 | 0.55
Floor Bldg 2F
7) | 2G | No | 21 Andrew Ave | PR Restaurants, LLC - Panera (22 Patio Seats) | 023-052 | 2601865 | 2701076 | 71974129 | 3900 | Restr. 35 gpd per seat | 35 | 110 | 3850 | 3850 | 3850 | 0
|  |  | space 10 | P.O. Box 43296 |  |  |  | 2013-02-25
Nottingham, MD 21236
|  |  | space 20 | Mechanical Room |  |  |  |  | 213
8) | 3A | Yes | 1 - 11 Andrew Ave | BOS Retail 1, LLC - Bldg 3A | 023-052 | 2601704 | 2701077 | 72047113
|  |  |  | c/o National Development |  |  |  | 2013-02-25
2310 Washington St.
Newton Lower Falls, MA 02467
|  |  |  | Middlesex Bank |  |  |  |  | 2400 | Retail: 50 gpd per 1,000 sqft | 50 | 1000 | 120 | 120 | 120 | 0
|  |  |  | The Local (18 Patio Seats) |  |  |  |  | 6000 | Restr. 35 gpd per seat | 35 | 200 | 7000 | 5250 | 7000 | 0
|  |  |  | Mechanical Room |  |  |  |  | 170
[9 empty] | 8570 | Total Capacity gpd Bldg 3A |  |  | 7120 | 5370 | 7120 | 0
|  | Yes |  | Deduction Irrigation Meter (Deduct irrigation |  | 2601704 |  |  |  | Changes based on use
meter gpd from Account #2701077)
No Master Meter-All Meters Read by Town
9) | 1A - Medical |  | 109 Andrew Ave | Medical Office Bldg-Common Space for | 023-052C | 2601841 | 2701078 | 75560876 |  | Board considers this part of the
| Office Meter |  |  | House Meter-2nd Floor Bathroom |  |  |  | 2013-05-31 |  | building's capacity numbers.
No Capacity or Billing.
| 1A - Medical | Yes | 109 Andrew Ave | No WW Billing-Not a Deduction Meter |  |  | N/A
Irrigation
10) | 1A |  | 109 Andrew Ave | Total 109 Andrew Ave (1st & 2nd Floors) | 023-052C
First Floor:
|  |  | ste 101, space 10 | Medical Care of Boston Mass Corp. | 023-052C | 2601842 | 2701079 | 75560873 | 5138 | Doctor: 250 gpd per Doctor | 250 | 4 | 1000 | 1000 | 750 | 250 | Opened with 3 doctors. Currently 4 doctors.
|  |  |  | Affiliated Physicians Group |  |  |  | 2013-05-31 |  | Adjust billing Capacity to 5 Dr's | [6 empty] | Negotiate with Retail 1. July 5 Dr's?
|  |  |  | 464 Hillside Avenue, Suite 304 | [5 empty] | July 1, 2016. Check with Dr. first.
Needham, MA 02494
(Beth Israel Deaconess Healthcare)
11) | 1A |  | 109 Andrew Ave | David Larson | 023-052C | 2601843 | 2701080 | 75560872 | 3000 | Office Space: 75 gpd per | 75 | 1000 | 225 | 150 | 225 | 0
|  |  | ste 102, space 20 | Joint Ventures Physical Therapy, Inc. |  |  |  | 2013-05-31 |  | 1,000 sq ft
654 Beacon Street, Floor 3
Boston, MA 02215
12) | 1A |  | 109 Andrew Ave | Forever Slender | 023-052C | 2601844 | 2701082 | 79359789 | 1183 | Office Space: 75 gpd per | 75 | 1000 | 88.725 | 65 | 89 | -0.275
|  |  | ste 103, space 30 | Maria Martin |  |  |  | 9/282015 |  | 1,000 sq ft
16B Willard Street
Wayland, MA 01778
First Floor: Stairs/Lobby/Vestibule/Mech
|  |  |  | Room/Elev. & Mech Shafts (853 sq ft) |  |  |  |  | 853
|  |  |  | Total First Floor |  |  |  |  | 10174 | 1st Floor Capacity gpd Bldg 1A |  |  | 1313.725 | 1215 | 1064 | 249.725
Second Floor:
13) | 1A |  | 109 Andrew Ave | Dr. Jason A. Boch DMD LLC | 023-052C | 2601845 | 2701081 | 75274398 | 1400 | Dentist: 200 gpd per Dentist | 200 | 1 | 200 | 330.25 | 200 | 0
|  |  | ste 201, space 210 | 45 Meadowbrook Circle |  |  |  | 2013-05-31
Sudbury, MA 01776
14) | 1A |  | 109 Andrew Ave | Dr. Courtney Lavigne DMD, LLC | 023-052C | 2601846 | 2701083 | 75560875 | 1650 | Dentist: 200 gpd per Dentist | 200 | 1 | 200 | 330.25 | 200 | 0
|  |  | ste 202, space 220 | 109 Andrew Avenue, Suite 202 |  |  |  | 2013-05-31 |  | (1 dentist and 1 hygenist)
Wayland, MA 01778
15) | 1A - Vacant |  | 109 Andrew Ave | BOS Retail 1, LLC - Bldg 1A | 023-052C | 2601847 | 2701084 | 75560871 | 1170 | Doctor: 250 gpd per Doctor | 250 | 1 | 250 | 330.25 | 250 | 0
|  |  | ste 203, space 230 | c/o National Development |  |  |  | 2013-05-31
2310 Washington St.
Newton Lower Falls, MA 02467
16) | 1A - Vacant |  | 109 Andrew Ave | BOS Retail 1, LLC - Bldg 1A | 023-052C | 2601848 | 2701085 | 75560878 | 1900 | Doctor: 250 gpd per Doctor | 250 | 1 | 250 | 330.25 | 250 | 0
|  |  | ste 204, space 240 | c/o National Development |  |  |  | 2013-05-31
2310 Washington St.
Newton Lower Falls, MA 02467
Second Flr: Stairs/Corridor & Bathrms/Mech
|  |  |  | Rm & Shafts/Elev & Mech Shafts (1,957 sq ft) |  |  |  |  | 1333
|  |  |  | Second Floor Total |  |  |  |  | 7453 | 2nd Floor Capacity gpd Bldg 1A |  |  | 900 | 1321 | 900 | 0
[9 empty] | 17627 | Total Capacity gpd 1st & 2nd |  |  | 2213.725 | 2536 | 1964 | 249.725
Floor Bldg 1A
| 2A - Gym |  | 110 Andrew Ave | No WW Billing - Not a Deduction Meter |  |  | N/A |  |  | No Capacity Requirements
Irrigation
17) | 2A |  | 110 Andrew Ave | TSI Wayland, Inc. | 023-052E | 2601815 | 2701094 | 72444845 | 15000 | Country Club Lockers & Showers | 20 | 230 | 2000 | 0 | 2000 | 0 | BOH to determine Design Flow
|  |  | space 10 | Town Sports Int'l., LLC |  |  |  | 2013-10-02 |  | 20 gpd per locker = 4,600 gpd
|  |  |  | C/O Nus Consulting Group | [5 empty] | DEP approved 2,000 gpd prior
|  |  |  | P.O. Box 740 | [5 empty] | to this. BOH reviewing this.
Park Ridge, NJ 07656-0740
(Boston Sports Club)
18) | 2A |  | 96 Andrew Ave | BOS Retail 1, LLC - Bldg 2A | 023-052E | 2601816 | 2701095 | 76291922 | 1816 | Dentist: 200 gpd per Dentist | 200 | 1 | 200 | 0 | 200 | 0
|  |  | space 20A | c/o National Development |  |  |  | 2013-10-02 |  | 3 Dentists, one working each day.
|  |  |  | 2310 Washington St. | [5 empty] | Expected opening March, 2016.
Newton Lower Falls, MA 02467
Pediatric Dentist - Expected Opening March, 2016
19) | 2A |  | 90 Andrew Ave | Amcomm Wireless, Inc. (Verizon) | 023-052E | 2601817 | 2701096 | 76291924 | 1495 | Retail: 50 gpd per 1,000 sqft | 50 | 1000 | 74.75 | 0 | 75 | -0.25
|  |  | space 20B | 63 No. Main Street |  |  |  | 2013-10-02
Charlton, MA 01507
Attn: Accounts Payable
|  |  |  | Mechanical Room (215 sq ft) |  |  |  |  | 215
[9 empty] | 18526 | Total Capacity gpd Bld 2A |  |  | 2274.75 | 0 | 2275 | -0.25
| 2B |  |  | BOS Retail 1, LLC - Bldg 2B | 023-052E
c/o National Development
2310 Washington St.
Newton Lower Falls, MA 02467
20) | 2B - Vacant |  | 60 Andrew (space 10) | Vacant | 023-052E | 2601778 | 2701103 | 75156560 | 3150 | Retail: 50 gpd per 1,000 sqft | 50 | 1000 | 157.5 |  | 157.5 | 0
2015-07-20
21) | 2B - Vacant |  | 66 Andrew (space 30) | Vacant | 023-052E | 2601779 | 2701104 | 75156563 | 1430 | Retail: 50 gpd per 1,000 sqft | 50 | 1000 | 71.5 |  | 71.5 | 0
2015-07-20
22) | 2B |  | 70 Andrew (space 40) | Ace Hardware | 023-052E | 2601780 | 2701102 | 75156562 | 13000 | Retail: 50 gpd per 1,000 sqft | 50 | 1000 | 650 |  | 650 | 0
2015-07-20
23) | 2B |  | 80 Andrew (space 50) | Wayside Gourmet | 023-052E | 2601781 | 2701105 | 75156559 | 2000 | Retail: 50 gpd per 1,000 sqft | 50 | 1000 | 100 |  | 100 | 0
2015-07-20
24) | 2B - Vacant |  | 84 Andrew (space 60) | Medpost (Urgent Care Facility) | 023-052E | 2601782 | 2701106 | 73900326 | 3150 | Doctor: 250 gpd per Doctor | 250 | 1 | 250 |  | 250 | 0
|  |  |  | Expected Opening March, 2016 |  |  |  | 2015-07-20 |  | 1 Dr and Phy Assist per day.
| 2B |  | space 20 | Mechanical Room (200 sq ft) | 023-052E | 2601773 |  | 75156561 | 200
[9 empty] | 22930 | Total Capacity gpd Bldg 2B |  |  | 1229 | 0 | 1229 | 0
| 4A |  |  | Pad for Future Bldg 4A |  |  |  |  | 4000 | Retail: 50 gpd per 1,000 sqft | 50 | 1000 | 0 | 0 | 200 | -200 | Future use. No Design Flow now.
[9 empty] | 186348 | Town Center Design Flow per Title V |  |  | 32650.775 | 28001 | 32601 | 49.775
Notes: | [9 empty] | Lillian Way - 42 homes at 220 gpd |  |  | 9240 |  | 9240 | 0
- Square Feet base on combination of BOH/Bld Dpt numbers from 7/14/15 Wayland town Center - Wastewater Summary and KGI numbers 12/10/2014. | [9 empty] | Municipal Pad |  |  | 3000 |  | 3000 | 0
- Vacant Properties based on Title V Establishment Type as Retail at 50 gpd/1,000 sq ft. or Office at 75 gpd/1,000 sqft. | [9 empty] | Total TC Design Flow with all Variables |  |  | 44890.775 |  | 44841 | 49.775
- Medical Care of Boston (BI) - Per Fred: Use 250 gpd/4 Dr's FY2016. FY2017/Q1 use 250 gpd/5 Dr's. Check status. Negotiate with BOS Retail 1. | [9 empty] | Design Flow allocated to the Town Center |  |  | 45000 |  | 45000 | 0
- Doctors & Dentists - Based on the number of doctors working per day. | [9 empty] | Unused Design Flow |  |  | 109.225 |  | 159 | -49.775 | BOH/Bld Dpt listed 388 gpd as unused
- Medical Office Building - Common Space, 2nd floor bathroom. FY2016 water use Q1 18 gpd, Q2 25 gpd. 1/13/16 Wastewater Board meeting - | [16 empty] | design flow. Not included here.
Considered part of the capacity for the offices. No capacity allocated and no billing. | [9 empty] | TC Design Flow per Title V should be
- Restaurants are based on the number of seats listed on the Certificate of Inspection. Patio seating included for The Local, Bertucci's and Panera. | [9 empty] | 32,760 gpd.
- Pad for Future Bldg 4A, 4,000 sq ft - Future capacity needs. Not included in the above calculations.
- Unused Capacity - From BOH/Bld Dpt Summary 7/14/15 of 389 (200, 33, 156). Per Geoff, unused capacity from the original calculations in 2014. Don't use. | [9 empty] | Possible Future Adjustments |  |  | 2535 | Resolution as of latest date
- Total Design Flow according to the DEP is 44,978 gpd. | [9 empty] | Bldg 4A, 4000sqft@retail | 200
- Lauren Craig - Bld Dpt shows 6 stylist chairs. They also have 3 chairs for applying hair color. Julia says use 6 chairs. 2/9/16 she is checking with the DEP. | [9 empty] | Bldg 4A as restaurant@ | 50 | seats | 1750 | None applied for
- Boston Sports Club-Water use FY15 Q4 658 gpd, FY16 Q1 577 gpd and Q2 667 gpd. BOH/Bld Dpt used 2,000 gpd approved by the DEP (Country Club at | [9 empty] | Medical Care of Boston (BI) |  |  | 250 | Leave at 4 doctors and negotiate
10 gpd for 200 lockers). Title V is Country Club at 20 gpd per locker. There are 230 lockers (146 regular size and 84 1' X 2" small). | [9 empty] | (Adding 1 Dr. on 1 July 2016) |  |  |  | with Retail 1
Per Manager: Members = Q2 1,650. Check-in est M/Tu 300/day, W-Su 250/day = 1,850/wk. Julia investingating? | [9 empty] | Still discussing TSI |  |  | -500 | Leave at 2000 gpd, no decrease
- Femiluxe Nail Salon - Currently listed as retail based on sq ft. What category should this be? | [9 empty] | Still discussing Lauren Craig - Increase
- Yellow Fill Cells are the Capacity for each Wastewater Account number. | [9 empty] | to 3 chairs |  |  | 300 | Leave at 600 gpd, no increase
[10 empty] | Nail salon as retail vs. beauty salon |  |  | 735 | Leave at 65 gpd assuming retail
Billing & Capacity Adjustments
#3, 5 & 8) Irrigation Deduction Meters - Use is seasonal. Deduct gpd from Master Meters.
#10 | Medical Care of Boston |  | Bill Capacity for 4 Dr's. June 30, 2016 check if 5 Dr's are working daily.
(Beth Israel)
#17 | TSI Wayland |  | To be determined
(Boston Sports Club)
#18 | Pediatric Dentist |  | Expected opening March, 2016.
#24 | Medpost (Urgent Care) |  | Expected opening March, 2016.

## SummaryByBuilding
Town Center Design Flow-Summary by Building
Based on 2/25/16 Capacity Spreadsheet | GPD Design Flow
Summary by building | WWMDC Jan 2016 | KGI Capacity Aug 2013 | Wayland Bldg Dpt, 2015Jul14 | WWMDC - Bldg Dt | Notes: see details on WWMDC Assessment 2016 worksheet
5A | 4365 | 4365 | 4365 | 0 | Stop and Shop
1C | 1079.75 | 1080 | 1080 | -0.25 | Sperry, Antons, Super Cuts, GNC, Vacant, Femiluxe
2C | 1101.25 | 1222 | 1101 | 0.25 | Subway, Orange Leaf
2D | 2483.75 | 2784 | 2484 | -0.25 | Takara, vacant (was Petco), Orthodontics
2E | 4258 | 3908 | 4258 | 0 | Bertucci’s
2F | 1355.55 | 1566 | 1355 | 0.55 | First floor businesses
2F | 1320 | 1320 | 1320 | 0 | Apartments on second floor
2G | 3850 | 3850 | 3850 | 0 | Panera
3A | 7120 | 5370 | 7120 | 0 | Middlesex Bank, The Local
1A | 2213.725 | 2536 | 1964 | 249.725 | Medical
2A | 2274.75 | 0 | 2275 | -0.25 | Sports Club using 230 lockers at 20 gpd
2B | 1229 | 0 | 1229 | 0 | Ace Hardware, Wayside Gourmet, future Medpost Urgent Care
Future 4A | 0 | 0 | 200 | -200 | Pad for Future Construction. Listed as retail by BOH/Bld Dpt
Total | 32650.775 | 28001 | 32601 | 49.775 | Bld Dpt #'s include Future 4A and Other Capacity.
Lillian Way | 9240 | 9240 | 9240 | 0 | 42 condos @ 220 gpd
Municipal Pad | 3000 | 3000 | 3000 | 0
Grand Total | 44890.775 | 40241 | 44841 | 49.775
Revisions | 0 | 0 | 0 | 0 | TBD through discussion
Revised total | 44890.775 | 40241 | 44841 | 49.775 | KGI excluded Lillian Way condos, for which they were going to build a 9900 gpd additional leaching field. This leaching field was never built.
Unused Design Flow | -109.225 |  | -159
Color key | Way under | Way over | Approx. agreement
Possible Future Adjustments |  |  | 2535 | Resolution as of latest date
Bldg 4A, 4000sqft@retail | 200
Bldg 4A as restaurant@ | 50 | seats | 1750 | None applied for
Medical Care of Boston (BI) |  |  | 250 | Leave at 4 doctors and negotiate
(Adding 1 Dr. on 1 July 2016) |  |  |  | with Retail 1
Still discussing TSI |  |  | -500 | Leave at 2000 gpd, no decrease
Still discussing Lauren Craig - Increase
to 3 chairs |  |  | 300 | Leave at 600 gpd, no increase
Nail salon as retail vs. beauty salon |  |  | 735 | Leave at 65 gpd assuming retail

## 20W=KGI Summary 2013 - Table 1-
Wayland WWMDC | [23 empty] | Wayland WWMDC
New Usage Readings for Town Center
History: 2013 July 28, revised 2013 July 31 to add meter readings, revised on 9 Aug 2013 to add 2013 Aug 2 water readings, format change on 2013 Aug 11
Summary: Overall water usage, as a measure of wastewater flow, is 35% of Title V design capacity of 14,034 gpd.
0
BLDG | Title V Capacity (gpd) | Measuring period | Usage (gpd) ^ | Title V Capacity (gpd) | Fraction of Title V | Space/Tenant | SF | Use | Calculation |  |  |  | Title V Capacity (gpd) | Read | Water readings | Fraction of Title V | [7 empty] | BLDG | Comments
| 0 |  |  |  |  | Not open yet | [7 empty] | dates | 2012-10-31 | 2013-02-25 | 2013-05-02 | 2013-05-23 | 2013-07-15 | 2013-07-26 | 2013-08-02 | 2013-10-01 | 2014-02-07
All open businesses | 0 |  | 4876.2046 | 14033.75 | 34.75%
1A | 1000 |  | No usage | 1000 |  | Beth Isreal | 5000 | Medical | 4 | @ | 250 | GPD/Doctor | 1000 | [10 empty] | Medical
| 150 |  |  | 150 |  | Joint Venture | 3000 | Retail | 3000 | @ | 50 | GPD/1K SF | 150
| 65 |  |  | 65 |  | Spec Tenant - Office | 1300 | Retail | 1300 | @ | 50 | GPD/1K SF | 65
| 750 |  |  | 750 |  | Spec Tenant - Medical | 5250 | Medical | 3 | @ | 250 | GPD/Doctor | 750
| 500 |  |  | 500 |  | Spec Tenant - Medical | 2250 | Medical | 2 | @ | 250 | GPD/Doctor | 500
| 71 |  |  | 71 |  | Other | [6 empty] | 71
| 2536 |  |  | 2536 |  | Building Total | 16800 | [5 empty] | 2536
1C | 100 |  |  | 100 |  | Spec Tenant | 2000 | Retail | 2000 | @ | 50 | GPD/1K SF | 100 | [10 empty] | 1C
|  | May-Aug'13 | 154.4783 | 45 | 20.74% | Anton's | 900 | Cleaners | 900 | @ | 50 | GPD/1K SF | 45 |  | 2013-05-02: 1300; 2013-07-26: 3000; 2013-08-02: 3200; 2013-10-01: 4600; 2014-02-07: 9600
|  |  |  | 700 |  | Supercuts | 1250 | Salon Chair | 7 | @ | 100 | GPD/Chair | 700 |  | 2013-07-26: 20.08%; 2013-08-02: 20.74%; 2013-10-01: 23.98%; 2014-02-07: 33.81% |  | Doing fine
| 57 |  |  | 57 |  | GNC | 1140 | Retail | 1140 | @ | 50 | GPD/1K SF | 57
| 113.9 |  |  | 113.9 |  | Spec Tenant | 2278 | Retail | 2278 | @ | 50 | GPD/1K SF | 113.9
| 64.1 |  |  | 64.1 |  | Lux | 1282 | Retail | 1282 | @ | 50 | GPD/1K SF | 64.1
| 0 |  |  |  |  | Mechanical Room | 150
| 1080 |  |  | 1080 |  | Building Total | 9000 | [5 empty] | 1080
0
2C | 100 |  |  | 100 |  | Wine & Cheese | 2000 | Wine Store | 2000 | @ | 50 | GPD/1K SF | 100 | [10 empty] | 2C
|  | Jul-Aug'13 | 332.4444 | 600 | 36.14% | Restaurant - Subway | 1200 | Fast Food | 30 | @ | 20 | GPD/seat | 600 |  |  |  | 7200 |  | 45900 | 51500 | 54300 | 83800 | 112200
|  |  |  | 320 |  | Orange Leaf Yogurt | 1620 | Fast Food | 16 | @ | 20 | GPD/seat | 320 |  | 2013-07-26: 81.3%; 2013-08-02: 36.14%; 2013-10-01: 86.16%; 2014-02-07: 102% |  | Using too much water
| 0 |  |  |  |  | Irrigation | [8 empty] | 2013-07-15: 35700; 2013-07-26: 40200; 2013-08-02: 43300; 2013-10-01: 65400; 2014-02-07: 77500 |  | Irrigation subtracted
| 85 |  |  | 85 |  | Spec Tenant | 1700 | Retail | 1700 | @ | 50 | GPD/1K SF | 85
| 116.5 |  |  | 116.5 |  | Spec Tenant | 2330 | Retail | 2330 | @ | 50 | GPD/1K SF | 116.5
| 0 |  |  |  |  | Mechanical Room | 150
| 1221.5 |  |  | 1221.5 |  | Building Total | 9000 | [5 empty] | 1221.5
0
2D | 500 |  |  | 500 |  | Town Center Ortho | 2995 | Medical | 2 | @ | 250 | GPD/Doctor | 500 | [10 empty] | 2D
| 183.75 |  | No read | 183.75 |  | Pet-co | 3675 | Retail | 3675 | @ | 50 | GPD/1K SF | 183.75 |  |  |  |  | 0 | 0 | 0 | 0 | 4900 | 19700 |  | meter repaired
| 2100 |  |  | 2100 |  | Takara | 2000 | Restaurant | 60 | @ | 35 | GPD/seat | 2100 |  | 2014-02-07: 424.3% |  | Using way too much water
| 0 |  |  |  |  | Mechanical Room | 150
| 2783.75 |  |  | 2783.75 |  | Building Total | 8820 | [5 empty] | 2783.75
0
2E | 58 |  |  | 58 |  | Spec Tenant | 1160 | Retail | 1160 | @ | 50 | GPD/1K SF | 58 | [10 empty] | 2E
| 3850 | Nov'12-Aug'13 | 1362.72 | 3850 | 35.4% | Restaurant - Bertucci's | 3250 | Restaurant | 110 | @ | 35 | GPD/seat | 3850 |  | 200 | 20500 |  | 49600 |  | 93700 | 98600 | 140700 | 178000
| 0 | [13 empty] | 2013-08-02: 38.86%; 2013-10-01: 38.21%; 2014-02-07: 31.78% |  | Doing fine
| 0 |  |  |  |  | Irrigation | [9 empty] | 33.71% |  |  | 39400 | 44800 | 48300 | 78600 | 94800 |  | Irrigation subtracted
| 0 |  |  |  |  | Mechanical Room | 150
| 3908 |  |  | 3908 |  | Building Total | 4560 | [5 empty] | 3908
| 0 | [13 empty] | 2013-05-23: 2500; 2013-07-26: 4000; 2013-08-02: 4500; 2013-10-01: 9200; 2014-02-07: 26300
2F | 800 |  |  | 800 |  | Salon | 1885 | Salon Chair | 8 | @ | 100 | GPD/Chair | 800 |  | 2013-08-02: 25.97%; 2013-10-01: 65.59%; 2014-02-07: 84.6% | 2F | Why is use increasing?
| 103.25 |  |  | 103.25 |  | Elements | 2065 | Retail | 2065 | @ | 50 | GPD/1K SF | 103.25 | [11 empty] | How many businesses are open?
| 162.5 |  |  | 162.5 |  | Spec Tenant | 3250 | Retail | 3250 | @ | 50 | GPD/1K SF | 162.5
| 110.95 |  |  | 110.95 |  | Spec Tenant | 2219 | Retail | 2219 | @ | 50 | GPD/1K SF | 110.95
| 117.25 |  |  | 117.25 |  | Spec Tenant | 2345 | Retail | 2345 | @ | 50 | GPD/1K SF | 117.25
| 271.55 |  |  | 271.55 |  | Spec Tenant | 5431 | Retail | 5431 | @ | 50 | GPD/1K SF | 271.55
| 1565.5 |  |  | 1565.5 |  | Subtotal | 17195 | [5 empty] | 1565.5
0
| 1320 |  |  | 1320 |  | 12 Apartments | 13200 | Residential | 12 | @ | 110 | GPD/Bedroom | 1320
| 2885.5 |  |  | 2885.5 |  | Building Total | 30395 | [5 empty] | 2885.5
0
2G | 3850 | May-Aug'13 | 1506.5352 | 3850 | 39.13% | Coffee (Panera) | 4113 | Restaurant | 110 | @ | 35 | GPD/seat | 3850 |  | 2013-05-23: 12100; 2013-07-26: 25200; 2013-08-02: 26400; 2013-10-01: 38200; 2014-02-07: 62800 | 2G
| 0 | [13 empty] | 2013-08-02: 12.95%; 2013-10-01: 34.22%; 2014-02-07: 25.29% |  | Doing fine
3A | 120 | Jul-Aug'13 | 124.6667 | 120 | 103.9% | Middlesex Savings | 2400 | Retail | 2400 | @ | 50 | GPD/1K SF | 120 |  |  |  |  | 800 | 11400 | 13200 | 14300 | 27100 | 78300 | 3A | Final Opened 2013 06 10
| 0 |  |  |  |  | Irrigation | [8 empty] | 2013-07-15: 10600; 2013-07-26: 12200; 2013-08-02: 13200; 2013-10-01: 20000; 2014-02-07: 23400 |  | See formula for irrigation subtraction
| 5250 |  |  | 5250 |  | Restaurant | 6008 | Restaurant | 150 | @ | 35 | GPD/seat | 5250 |  | 2013-07-26: 113.3%; 2013-08-02: 89.05%; 2013-10-01: 623.3%; 2014-02-07: 2310% |  | Too high
| 0 |  |  |  |  | Mechanical Room | 162 | [17 empty] | Need to monitor this
| 5370 |  |  | 5370 |  | Building Total | 8570 | [5 empty] | 5370
0
4C | 0 |  |  |  |  | Fitness
0
0
0
5A | 4365 | Nov'12-Aug'13 | 1395.36 | 4365 | 31.97% | Stop & Shop | 45000 | Supermarket | 45000 | @ | 97 | GPD/1K SF | 4365 |  | 1200 | 22600 |  | 39700 |  | 51300 | 52500 | 62800 | 85400 | 5A
| 0 | [14 empty] | 31.34% |  | 33.68% |  | 31.06% | 29.38% | 29.42% | 30.02% |  | Doing fine; Shows consistency
0
| 27999.75 |  | Total Wastewater Connection | 27999.75 | [8 empty] | 27999.75
| 17000 |  | Residential Capacity | 17000 | [8 empty] | 17000
| 44999.75 |  | Total Per WWMDC | 44999.75 | [8 empty] | 44999.75
| 0 |  |  |  | ^ See formula to determine usage calculation.

## Apartments
Data From Attachment A Zoning Summary - 12/10/14
Building 2F - Individual Apartment Information |  |  |  |  | Capacity
| Sq Ft | Criteria | GPD | Bedrooms | GPD | Building 2F Variance in Square Feet
Second Floor:
Apartment - 201 | 1511 | 110 gpd per bedroom | 110 | 1 | 110 |  | Wastewater | Bld Dept | Variance
Apartment - 202 | 1020 | 110 gpd per bedroom | 110 | 1 | 110 | 1st Floor | 16977 | 16977 | 0
Apartment - 203 | 984 | 110 gpd per bedroom | 110 | 1 | 110 | Stairs, etc. | 1563 | 796 | 767
Apartment - 204 | 987 | 110 gpd per bedroom | 110 | 1 | 110 |  | 18540 | 17773 | 767
Apartment - 205 | 894 | 110 gpd per bedroom | 110 | 1 | 110
Apartment - 206 | 1078 | 110 gpd per bedroom | 110 | 1 | 110 | 2nd Floor | 13023 | 13200 | -177
Apartment - 207 | 1036 | 110 gpd per bedroom | 110 | 1 | 110 | Stairs, etc | 3442 | 0 | 3442
Apartment - 208 | 1036 | 110 gpd per bedroom | 110 | 1 | 110 |  | 16465 | 13200 | 3265
Apartment - 209 | 1010 | 110 gpd per bedroom | 110 | 1 | 110
Apartment - 210 | 1007 | 110 gpd per bedroom | 110 | 1 | 110 | Total Bld 2F sqft | 35005 | 30973 | 4032
Apartment - 211 | 984 | 110 gpd per bedroom | 110 | 1 | 110
Apartment - 212 | 1476 | 110 gpd per bedroom | 110 | 1 | 110 | Wastewater's numbers are from Attachment A, Zoning
Total | 13023 |  |  |  | 1320 | Board Summary - 12/10/14
LL Storage/Stair 2/Elev & Machine/
Corridor & Stair (3,442 sq ft)
Rentable Sq Ft per
National Dev. = | 13200